## Slide 1
Left Atrial Appendage Closure or Anticoagulation for Atrial Fibrillaton: The CHAMPION-AF Clinical Trial
Saibal Kar, MD and Shephal K. Doshi, MD
Los Robles Medical Center, CA and Cedars Sinai Smidt Heart Institute, CA
On behalf of the CHAMPION-AF investigators

## Slide 2
Disclosures for Saibal Kar
Grants and institutional research support: Abbott, Boston Scientific, Johnson & Johnson, Medtronic, InterShunt, Sierra Valve, HighLife Medical, inQB8 Med Technologies, Edwards Lifescience, CARDIOMECH, Occlutech
Consulting fees/honoraria: Abbott, Boston Scientific, W.L. Gore, and Medtronic, Johnson & Johnson
Steering committee member: Elite AF trial (Boston Scientific), TRILUMINATE trial (Abbott).
National principal investigator: CHAMPION Trial, SIMPLAAFY (Boston Scientific), EXPAND & REPAIR MR (Abbott), Laminar LAA Elimination Pivotal Study ( Johnson & Johnson), ASCENT ASD Study ( atHeart Medical), STAR-US study( Microinterventional Devices)
The CHAMPION AF trial was funded by Boston Scientific Corporation

## Slide 3: Background and Purpose
Non-vitamin K oral anticoagulants (NOACs) reduce thromboembolic events in patients with atrial fibrillation (AF), but are limited by compliance, cost and bleeding.
Left atrial appendage closure (LAAC) may be considered in AF patients who are poor candidates for long-term NOACs.
The purpose of CHAMPION-AF, is to determine if LAAC using the Watchman FLX™ is a reasonable alternative in AF patients deemed suitable for long-term NOACs.

## Slide 4
3000 Randomized Patients (1:1)
Non-valvular AF suitable for long-term NOACs
CHA2DS2-VASc score of ≥2 for males or ≥3 for females
Primary endpts: efficacy & safety
Secondary endpts: major bleeding & net clinical benefit
0
3y
3m
1y
Randomization
2y
4y
5y
4m
Imaging FU
LAAC (WATCHMAN FLX)
(ASA for remainder of trial)
NOAC Rx
(NOAC per label for duration of trial)
3mo NOAC
± ASA /DAPT
Primary endpts: efficacy
Secondary endpts: safety & net clinical benefit
CHAMPION-AF Trial Design
SAPT
Kar S, Doshi SK,…Leon MB. Am Heart J 2023; 264:123-132

## Slide 5: CHAMPION-AF Trial Leadership & Top Enrollers
Co-PIs: Shephal Doshi and Saibal Kar
Co-Chairs: Kenneth Ellenbogen and Martin Leon
Steering Committee: Mohamad Alkhouli, John Camm, Megan Coylewright, Michael Gibson, Christopher Granger, Edip Gurol, Kenneth Huber, Moussa Mansour, Devi Nair, Andrea Natale, Stuart Pocock, Vivek Reddy, Walid Saliba
Core Lab: Federico Asch, Medstar Health Research Institute
Data Monitoring Committee: Joseph Kannam (Chair), Viken Babikian, Wendy Shear, Richard Asinger, Christopher Pulling
Clinical Events Committee: Michael Manoles (Chair), Robert Taylor, Alejandro Rabinstein, John Schoenhard, Jonathan Kleefield
Devi Nair, MD
Arrhythmia Research Group
Jonesboro, AR
Thomas E. Waggoner, DO
Pima Heart Physicians
US Heart & Vascular
Tucson, AZ
Himanshu Agarwal, MD
Bergan Cardiology
Omaha, NE
Mehran Moussavian, MD
Cardiovascular Institute
of San Diego
Chula Vista, CA
Amir Kashani, MD
Memorial Hermann
Memorial City Medical Ctr
Houston, TX
Saumil Oza, MD
Ascension St. Vincent’s
Jacksonville, FL
Top Enrollers:

## Slide 6: CHAMPION-AF Primary Endpoints
Primary Efficacy (non-inferiority):
Cardiovascular death, stroke, and systemic embolism
Primary Safety (superiority):
Non-procedural ISTH major and modified* ISTH clinically relevant non-major bleeding
Primary Efficacy (non-inferiority):
Ischemic stroke and systemic embolism
International Society on Thrombosis and Heamostasis (ISTH) major bleeding: symptomatic and (1) fatal and/or (2) in a critical organ/area and/or (3) causes a fall in hemoglobin ≥2 g/dL leading to transfusion of ≥2 units of whole blood or red cells.
*Modified ISTH clinically relevant non-major bleeding: does not fit criteria for the ISTH definition of major bleeding but requires hospitalization or increased level of care.
Three-year Endpoints
Study success: meeting the three-year primary endpoints
Five-year Endpoints

## Slide 7: Study Methodology
Primary Efficacy Endpoint at 3 Years
Non-inferiority hypothesis
  Expected rates: 12% in each group
  Absolute non-inferiority margin: 4.8% (relative margin 40%)
Statistical Power and sample size
Given a 12.5% expected attrition rate and a 1-sided test significance level (α) of 2.5%, a sample size of 3000 patients provided a 90% power for primary efficacy analysis

## Slide 8: CHAMPION-AF Secondary Endpoints
Secondary Safety (non-inferiority):
Procedural and non-procedural ISTH major bleeding
Secondary Net Clinical Benefit (non-inferiority):
Cardiovascular death, stroke, systemic embolism, and non-procedural ISTH major and modified* ISTH clinically-relevant non-major bleeding
Secondary Safety (superiority):
Procedural and non-procedural ISTH major bleeding
Secondary Net Clinical Benefit (superiority):
Cardiovascular death, stroke, systemic embolism, and non-procedural ISTH major and modified* ISTH clinically-relevant non-major bleeding
Three-year Endpoints
Five-year Endpoints
International Society on Thrombosis and Heamostasis (ISTH) major bleeding: symptomatic and (1) fatal and/or (2) in a critical organ/area and/or (3) causes a fall in hemoglobin ≥2 g/dL leading to transfusion of ≥2 units of whole blood or red cells.
*Modified ISTH clinically relevant non-major bleeding: does not fit criteria for the ISTH definition of major bleeding but requires hospitalization or increased level of care.
Notes: We also have secondary safety and net clinical benefit endpoints that will be discussed with the results

## Slide 9: Study Flow
3000 eligible pts; 1:1 randomization
Reached 3 years or an endpoint event
N=1390 ITT
Reached 3 years or an endpoint event
N=1305 ITT
61 withdrew post-implant
41 lost to follow-up
7 other
115 withdrew
64 lost to follow-up
17 other
LAAC
N=1499 ITT
NOAC
N=1501 ITT
Reasons for no implant
46 withdrew prior to implant
23 unsuitable anatomy
22 unsuccessful implant
21 other reasons
1501 treated as assigned
1386 received LAAC

## Slide 10: Baseline Characteristics
 | NOAC (n=1501) | LAAC (n=1499)
Age, yr, avg ± SD | 71.8±7.5 | 71.6±7.5
Female | 31.5% | 32.4%
Caucasian | 85.0% | 85.1%
CHA2DS2-VASc score, avg ± SD | 3.5±1.3 | 3.5±1.2
2 | 23.3% | 23.7%
3-4 | 58.4% | 57.6%
≥5 | 18.4% | 18.6%
HAS-BLED score, avg ± SD | 1.3±0.8 | 1.3±0.8
Prior ischemic stroke | 7.6% | 7.9%
Prior hemorrhagic stroke | 0.7% | 0.3%
History of congestive heart failure | 22.4% | 21.2%
History of major bleeding | 3.3% | 3.5%
Paroxysmal AF | 68.5% | 69.3%
Persistent AF | 25.4% | 23.9%
Permanent AF | 6.1% | 6.8%
Prior AF ablation | 46.9% | 48.7%

## Slide 11
LAAC Procedure | Attempted Implants (n=1408)
Successful implant (deployed, released) | 98.8%
General anesthesia | 84.4%
Procedural imaging | n=1386
TEE | 87.1%
ICE | 9.5%
Discharge medication | 
NOAC | 85.0%
DAPT | 12.6%
Serious Adverse Events | Attempted Implants (n=1408)
Within 7 days of procedure | 
Death | 0% (0)
Stroke | 0.1% (1)
Systemic embolism | 0% (0)
Pericardial effusion requiring intervention | 0.6% (8)
Other major bleeding | 0.4% (5)
Device embolization | 0% (0)
Values are % (number of patients)
LAAC Procedural Characteristics

## Slide 12: Peri-Device Leak & Device-Related Thrombus
3.0%
1.8%
 | 4 months post-procedure analyzable images
Peri-Device Leak | n=1,012
≤3 mm | 98.6% (998)
>3 to ≤5 mm | 1.4% (14)
>5 mm | 0% (0)
Device-Related Thrombus (DRT) | n=1,320
DRT | 4.8% (63)
Pedunculated | 0.9% (12)
DRT and NOAC resumption | 1.8% (24)
DRT followed by stroke | 0.2% (2)
Values are % (number of patients)
Results are core lab adjudicated and include those with CT (18.3%) or TEE (81.7%) imaging

## Slide 13: Primary Efficacy Endpoint
*1-sided 97.5% Z upper confidence bound = 2.6%
Chart: 
| 0.9
Event Rate | 0.5
NI margin
4.8%
0.9%
Intergroup difference
2.6%*
KM Event Rate ± 1.5 SE
No. at risk |  |  |  |  |  |  | 
LAAC | 1499 |  | 1430 |  | 1395 |  | 1326
NOAC | 1501 |  | 1394 |  | 1344 |  | 1254
Percentage of Patients
Chart: 
| 0 | 1095
Y-Values | 0 | 100
Chart: 
| 0 | 1095
Y-Values | 0 | 10
1
3
2
3
1
LAAC
NOAC
P<0.001 (non-inferiority)
HR [95% CI]: 1.20 [0.87, 1.66]
Years post-randomization
4.8%
5.7%
Cardiovascular death, stroke or systemic embolism
2

## Slide 14: Primary Efficacy Endpoint Components
 | NOAC (n=1501) | LAAC (n=1499) | Hazard Ratio [95% CI]
Cardiovascular death | 2.7% (36) | 2.7% (38) | 1.01 [0.64, 1.59]
Stroke | 2.5% (33) | 3.6% (50) | 1.46 [0.94, 2.27]
Ischemic | 2.0% (27) | 3.2% (45) | 1.61 [1.00, 2.59]
Hemorrhagic | 0.4% (5) | 0.4% (5) | 0.96 [0.28, 3.32]
Undetermined | 0.1% (1) | 0% (0) | 0.00 [NA, NA]
Systemic embolism | 0.1% (2) | 0% (0) | 0.00 [NA, NA]
Values are Kaplan-Meier estimate (number of patients)
The annual average difference in ischemic stroke & systemic embolism rates was 0.33%/year
87% of ITT NOAC patients were adherent to medications during a majority of follow-up
76% of ITT LAAC patients had a successful implant and were adherent to medications during a majority of follow-up

## Slide 15: Primary Safety Endpoint
Chart: 
| 0 | 1095
Y-Values | 0 | 100
KM Event Rate ± 1.5 SE; log-rank P value
No. at risk |  |  |  |  |  |  | 
LAAC | 1499 |  | 1392 |  | 1349 |  | 1252
NOAC | 1501 |  | 1330 |  | 1236 |  | 1093
Years post-randomization
Percentage of Patients
10.9%
19.0%
Non-procedural bleeding*
Chart: 
| 0 | 1095
Y-Values | 0 | 10
LAAC
NOAC
HR [95% CI]: 0.55 [0.45, 0.67]
P<0.001 (superiority)
*ISTH major and modified clinically relevant non-major

## Slide 16: Secondary Safety Endpoint
ISTH major bleeding (procedural and non-procedural)
Chart: 
| -0.6
Event Rate | 0.5
-0.6%
1.2%*
NI margin
4.8%
Intergroup difference
Chart: 
| 0 | 1095
Y-Values | 0 | 100
No. at risk |  |  |  |  |  |  | 
LAAC | 1499 |  | 1430 |  | 1395 |  | 1329
NOAC | 1501 |  | 1394 |  | 1344 |  | 1254
Chart: 
| 0 | 1095
Y-Values | 0 | 10
LAAC
NOAC
5.9%
6.4%
P<0.001 (non-inferiority)
*1-sided 97.5% Z upper confidence bound = 1.2%
KM Event Rate ± 1.5 SE
Years post-randomization
HR [95% CI]: 0.92 [0.68, 1.24]
Percentage of Patients

## Slide 17: Secondary Net Clinical Benefit Endpoint
Cardiovascular death, stroke, systemic embolism and non-procedural bleeding
Chart: 
| 0 | 1095
Y-Values | 0 | 100
No. at risk |  |  |  |  |  |  | 
LAAC | 1499 |  | 1388 |  | 1339 |  | 1237
NOAC | 1501 |  | 1328 |  | 1235 |  | 1088
Chart: 
| 0 | 1095
Y-Values | 0 | 10
LAAC
NOAC
15.1%
21.8%
P<0.001 (superiority)
*1-sided 97.5% Z upper confidence bound = -3.8%
KM Event Rate ± 1.5 SE
Chart: 
| -6.7
Event Rate | 0.5
-6.7%
-3.8*
NI margin
9.6%
P<0.001 (non-inferiority)
Intergroup difference
Percentage of Patients
HR [95% CI]: 0.66 [0.56, 0.79]
Years post-randomization

## Slide 18
No. at risk |  |  |  |  |  |  | 
LAAC | 1499 |  | 1412 |  | 1397 |  | 1334
NOAC | 1501 |  | 1382 |  | 1324 |  | 1212
LAAC
NOAC
12.8%
19.0%
6m
Years post-randomization
Procedural and Non-procedural Bleeding
ISTH major and modified clinically relevant non-major
KM Event Rate ± 1.5 SE
Chart: 
| 0 | 1095
Y-Values | 0 | 100
Chart: 
| 0 | 1095
Y-Values | 0 | 10
P<0.001
Percentage of Patients

## Slide 19: Pre-Specified Subgroups: Primary Efficacy

## Slide 20: Pre-Specified Subgroups: Primary Safety

## Slide 21: Limitations
Trial results may not apply to all LAAC devices and post-implant medication regimens.
Findings may not be generalizable to all AF patients; e.g. advanced heart failure and low EF (<30%) were exclusion criteria.
Non-inferiority margins for the primary efficacy endpoint were absolute and not relative. The lower-than-expected observed primary efficacy rate in the NOAC arm facilitated achieving statistical non-inferiority.

## Slide 22: Conclusions
In patients with non-valvular AF deemed suitable for anticoagulation, left atrial appendage closure using WATCHMAN FLX at three years was…
Non-inferior to NOACs for the composite primary endpoint of cardiovascular death, stroke, and systemic embolism.
AND, significantly reduced clinically-relevant non-procedural bleeding.
The third primary endpoint assessing ALL thromboembolic events (stroke and systemic) will be reported at five years.

## Slide 23
WATCHMAN FLX left atrial appendage closure may be considered as an alternative to NOACs in a shared decision-making process with atrial fibrillation patients who are deemed suitable for long-term oral anticoagulation!
Clinical Implications

## Slide 25: Thank you to the Sponsor (BSC) Investigators /Research Coordinators The patients who trusted us

## Slide 26: CLOSURE AF
 | CHAMPION-AF | CLOSURE-AF
 | LAAC (n=1499) | LAAC (N=446)
Procedural adverse events* | within 7 days | Within 7 days or discharge
Pericardial tamponade or effusion requiring intervention | 0.6% | 1.1%
Major bleeding | 0.4% | 4.0%
Device embolization | 0% | 0.2%
TIA or stroke | 0.1% | 0.2%
Systemic embolism | 0% | 0.2%
Death | 0% | 0.5%
CLOSURE adds to the wealth of evidence showing that stroke rates are noninferior with LAAC vs NOAC: Prague—17, OPTION, CLOSURE and now CHAMPION.
Complications and early bleeding rates in CLOSURE do not reflect contemporary practice.
*Definitions of events may differ between trials

## Slide 27: Recent Trials
 | CHAMPION-AF |  | CLOSURE-AF |  | OPTION-AF | 
 | LAAC (n=1499) | OAC (n=1501) | LAAC N=446 | OAC N=442 | LAAC (n=803) | OAC (n=797)
Population | Suitable for long-term OAC |  | High risk of stroke and bleeding |  | Recent or concomitant AF ablation | 
Age, yrs, avg ± SD or md (IQR) | 71.6 ± 7.5 | 71.8 ± 7.5 | 79.5 (74.6, 83.0) | 78.4 (72.8, 82.6) | 69.7 ± 7.4 | 69.4± 7.9
CHA2DS2-VASc, avg ± SD | 3.5 ± 1.2 | 3.5 ± 1.3 | 5.2 ± 1.5 | 5.1 ± 1.6 | 3.5 ± 1.3 | 3.5 ± 1.3
HAS-BLED, avg ± SD | 1.3 ± 0.8 | 1.3 ± 0.8 | 3.1 ± 0.9 | 3.0 ± 0.9 | 1.2 ± 0.8 | 1.2 ± 0.8
AF Type: Paroxysmal | 69.3% | 68.5% | -- | -- | 59.4% | 62.9%
AF Type: Persistent | 23.9% | 25.2% | -- | -- | 40.6% | 37.1%
 | Primary Findings |  | Primary Findings |  | Primary Findings | 
Primary Efficacy | CV/Unexp. death, stroke, SE (3-year KM estimate) |  | Stroke, SE, CV/Unexp. death, major bleeding, median f/u 3yrs |  | All-cause death, stroke, SE (3-year KM estimate) | 
 | 5.7% | 4.8% | 16.83/100 pt yrs | 13.27/100 pt yrs | 5.3% | 5.8%
Primary Safety | Non-procedural bleeding (3-year KM estimate) |  | -- |  | Major bleeding (3-year KM estimate) | 
 | 10.9% | 19.0% | -- | -- | 3.9% | 5.0%