## Slide 1: COAPT Three-Year Outcomes from a Randomized Trial of Transcatheter Mitral Valve Leaflet Approximation in Patients with Heart Failure and Secondary Mitral Regurgitation
Michael Mack
William T. Abraham
JoAnn Lindenfeld
Gregg W. Stone
On behalf of the COAPT Investigators
COAPT (NCT01626079)

## Slide 2
Disclosure Statement
The COAPT (NCT01626079) study was sponsored by Abbott
Abbott – Co-PI COAPT Trial
Edwards Lifesciences- Co-PI PARTNER 3 Trial
Medtronic- Study Chair-Apollo Trial
Gore- Consultant

## Slide 3: Background
In the COAPT trial, treatment of symptomatic patients with heart failure (HF) and severe secondary MR with the MitraClip improved survival at 2 years, reduced HF hospitalizations (HFH), and improved quality of life compared to maximally-tolerated guideline-directed medical therapy (GDMT) alone
Per protocol, subjects randomized to GDMT were not allowed to crossover to the MitraClip prior to 24 months, but were permitted to do so after 24 months
Notes: 2
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 4: Objectives
The present study sought to:
Describe the 3-year clinical outcomes of pts enrolled in the COAPT trial, including those who crossed over to MitraClip (ITT)
Analyze the impact of MitraClip crossovers in pts assigned to GDMT alone

## Slide 5: The COAPT Trial
Cardiovascular Outcomes Assessment of the MitraClip Percutaneous Therapy for Heart Failure Patients with Functional Mitral Regurgitation
A parallel-controlled, open-label, multicenter trial in 614 patients with heart failure and moderate-to-severe (3+) or severe (4+) secondary MR who remained symptomatic despite maximally-tolerated GDMT
Randomize 1:1*
GDMT alone
N=302
MitraClip + GDMT
N=312
*Stratified by cardiomyopathy etiology (ischemic vs. non-ischemic) and site
Follow-up at 30d, 6mo, 1y, 18mo, 2y, 3y, 4y, 5y
Notes: 4
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 6: MitraClip Crossovers in GDMT-Assigned Patients
GDMT alone
(N=312)
MitraClip crossover
before 24 months
(N=5)*
No MitraClip crossover before 24 months
(N=138)
Not eligible for crossover at 24 months (N=169)
Death: 124
LVAD: 16
Transplant: 9
Withdrawals: 26
Lost to follow up: 3
Other†: 2
MitraClip crossover between 24 and 36 mos
(N=53/138; 38.4%)
No MitraClip crossover (N=85)
Total Crossover
(N=58/312; 18.6%)
Duration from randomization to crossover:
Median: 25.5 months; Range: 0.2 to 32.9 months
Follow-up after crossover:
Median: 7.7 months; Range: 0.0 to 43.6 months
†No FU data post 24 months
Pt may be in more than one category
*Protocol deviation

## Slide 7: Primary Effectiveness Endpoint All Hospitalizations for HF within 36 months All patients, ITT, including crossovers
# at Risk: |  |  |  |  |  |  | 
MitraClip + GDMT | 302 | 269 | 238 | 219 | 189 |  | 
GDMT alone | 312 | 272 | 223 | 185 | 144 |  | 
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
MitraClip + GDMT
GDMT alone
299
in 158 pts
169
in 95 pts
#Joint frailty model
NNT = 3.2 [95% CI 2.5, 4.5]
HR [95% CI]# = 0.51 [0.39, 0.67] P=0.000001
Notes: 6
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 8: Primary Effectiveness Endpoint All Hospitalizations for HF within 36 months All patients, ITT, including crossovers
# at Risk: |  |  |  |  |  |  | 
MitraClip + GDMT | 302 | 269 | 238 | 219 | 189 | 128 | 93
GDMT alone | 312 | 272 | 223 | 185 | 144 | 89 | 68
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
MitraClip + GDMT
GDMT alone
HR [95% CI]# = 0.49 [0.37, 0.63]
P=0.00000006
NNT = 3.0 [95% CI 2.4, 4.0]
378
in 196 pts
220
in 114 pts
#Joint frailty model
299
in 158 pts
169
in 95 pts
NNT = 3.2 [95% CI 2.5, 4.5]
Notes: 7
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 9: Primary Effectiveness Endpoint Annualized Rates of HF Hospitalizations within 36 months All patients, ITT, including crossovers
NNT= 3.0 [95% CI 2.4, 4.0]
Chart: 
Series 1 | 0.355 | 0.688
GDMT
alone
MitraClip
+ GDMT
378 HFH events per 549.5 pt-yrs
220 HFH events per 619.7 pt-yrs
Annualized rate is calculated as total number of HF Hospitalization events divided by total follow-up years
#Joint frailty model
HR [95% CI]# =
0.49 [0.37, 0.63]
P=0.00000006
Notes: 8
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 10: Primary Safety Endpoint (MitraClip arm) Freedom from Device-related Complications n=293 pts with MitraClip procedure attempted
 | 0-30 Days | 0-12 Months | 0-24 Months | 0-36 Months
All | 1.4% (4) | 3.3% (9) | 5.2% (13) | 8.7% (18)
- Device-related complications | 1.4% (4) | 1.4% (4) | 1.4% (4) | 1.4% (4)
• Single leaflet device attachment | 0.7% (2) | 0.7% (2) | 0.7% (2) | 0.7% (2)
• Device embolization | 0.3% (1) | 0.3% (1) | 0.3% (1) | 0.3% (1)
• Endocarditis requiring surgery | 0.0% (0) | 0.0% (0) | 0.0% (0) | 0.0% (0)
• Mitral stenosis requiring surgery | 0.0% (0) | 0.0% (0) | 0.0% (0) | 0.0% (0)
• Any device-related complication requiring non-elective CV surgery | 0.3% (1) | 0.3% (1) | 0.3% (1) | 0.3% (1)
- Progressive heart failure | 0.0% (0) | 2.0% (5) | 3.8% (9) | 7.4% (14)
• Left ventricular assist device implant | 0.0% (0) | 1.2% (3) | 2.6% (6) | 5.4% (10)
• Heart transplant | 0.0% (0) | 0.8% (2) | 1.3% (3) | 2.6% (5)
Event rates are Kaplan-Meier time-to-first event estimates;
Includes only first occurrence of each event

## Slide 11: First Heart Failure Hospitalization All patients, ITT, including crossovers
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
56.4%
34.8%
MitraClip + GDMT
GDMT alone
Event rates are Kaplan-Meier time-to-first event estimates
# at Risk: |  |  |  |  |  |  | 
MitraClip + GDMT | 302 | 238 | 196 | 176 | 148 |  | 
GDMT alone | 312 | 206 | 156 | 120 | 87 |  | 
NNT = 4.6 [95% CI 3.3, 7.5]
HR [95% CI] = 0.51 [0.39, 0.66]
P=0.0000001
Notes: 10
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 12: First Heart Failure Hospitalization All patients, ITT, including crossovers
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
81.5%
46.5%
56.4%
34.8%
MitraClip + GDMT
GDMT alone
Event rates are Kaplan-Meier time-to-first event estimates
# at Risk: |  |  |  |  |  |  | 
MitraClip + GDMT | 302 | 238 | 196 | 176 | 148 | 101 | 66
GDMT alone | 312 | 206 | 156 | 120 | 87 | 37 | 20
HR [95% CI] = 0.43 [0.34, 0.54]
P=0.00000000000004
NNT = 2.9 [95% CI 2.3 3.8]
NNT = 4.6 [95% CI 3.3, 7.5]
Notes: 11
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 13: All-Cause Mortality All patients, ITT, including crossovers
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
43.0%
28.2%
Event rates are Kaplan-Meier time-to-first event estimates
MitraClip + GDMT
GDMT alone
# at Risk: |  |  |  |  |  |  | 
MitraClip + GDMT | 302 | 269 | 238 | 219 | 189 |  | 
GDMT alone | 312 | 272 | 223 | 186 | 145 |  | 
NNT = 6.8 [95% CI 4.5, 14.0]
HR [95% CI] = 0.62 [0.47, 0.82] P=0.0007
Notes: 12
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 14: All-Cause Mortality All patients, ITT, including crossovers
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
55.5%
42.8%
43.0%
28.2%
Event rates are Kaplan-Meier time-to-first event estimates
MitraClip + GDMT
GDMT alone
# at Risk: |  |  |  |  |  |  | 
MitraClip + GDMT | 302 | 269 | 238 | 219 | 189 | 128 | 93
GDMT alone | 312 | 272 | 223 | 186 | 145 | 91 | 70
HR [95% CI] = 0.67 [0.52, 0.85] P=0.001
NNT = 7.9 [95% CI 4.6, 26.1]
NNT = 6.8 [95% CI 4.5, 14.0]
Notes: 13
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 15: All-Cause Mortality or HF Hospitalization All patients, ITT, including crossovers
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
66.6%
44.5%
MitraClip + GDMT
GDMT alone
Event rates are Kaplan-Meier time-to-first event estimates
# at Risk: |  |  |  |  |  |  | 
MitraClip + GDMT | 302 | 238 | 196 | 176 | 148 |  | 
GDMT alone | 312 | 206 | 156 | 120 | 87 |  | 
NNT = 4.5 [95% CI 3.3, 7.0]
HR [95% CI] = 0.56 [0.45, 0.69] P=0.0000001
Notes: 14
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 16: All-Cause Mortality or HF Hospitalization All patients, ITT, including crossovers
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
88.1%
58.8%
MitraClip + GDMT
GDMT alone
Event rates are Kaplan-Meier time-to-first event estimates
# at Risk: |  |  |  |  |  |  | 
MitraClip + GDMT | 302 | 238 | 196 | 176 | 148 | 101 | 66
GDMT alone | 312 | 206 | 156 | 120 | 87 | 37 | 20
HR [95% CI] = 0.48 [0.39, 0.59]
P=0.0000000000001
NNT = 3.4 [95% CI 2.7, 4.6]
NNT = 4.5 [95% CI 3.3, 7.0]
66.6%
44.5%
Notes: 15
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 17: KCCQ Summary Score All patients, ITT, 24 months
Chart: KCCQ Summary Score
| Baseline | 12 Months | Baseline | 24 Months
GDMT alone | 52.9 | 49.6 | 52.6 | 40.6
MitraClip + GDMT | 54.2 | 66.4 | 53.2 | 60.9
±23.3
±22.7
n=236
n=228
n=205
n=200
±23.4
±22.9
Pts with adjudicated HF death are assigned KCCQ score of 0 at 24 months.
*ANCOVA model with baseline KCCQ and treatment effect as covariates
±32.0
±28.6
n=236
n=228
±34.4
±33.2
n=205
n=200
Notes: 16
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 18: KCCQ Summary Score All patients, ITT, 24 months
Chart: KCCQ Summary Score
| Baseline | 12 Months | Baseline | 24 Months
GDMT alone | 52.9 | 49.6 | 52.6 | 40.6
MitraClip + GDMT | 54.2 | 66.4 | 53.2 | 60.9
±23.3
±22.7
Chart: KCCQ change from BL to 24 mo (LSM  SE)
GDMT alone | -12.1
MitaClip + GDMT | 7.8
Adjusted change (24 mo)*
±2.3
±2.3
P<0.001
n=236
n=228
n=205
n=200
±23.4
±22.9
Pts with adjudicated HF death are assigned KCCQ score of 0 at 24 months.
*ANCOVA model with baseline KCCQ and treatment effect as covariates
±32.0
±28.6
n=236
n=228
±34.4
±33.2
n=205
n=200
Notes: 17
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 19: 6MWD Outcomes All patients, ITT, 24 months
Chart: 6 Minute Walk Distance (m)
| Baseline | 12 Months | Baseline | 24 Months
GDMT alone | 246.4 | 188.8 | 242.4 | 152.5
MitraClip + GDMT | 261.3 | 256.7 | 262.2 | 203.7
n=229
n=237
n=205
n=198
±127.1
±125.3
±128.1
±127.5
Pts with adjudicated HF death or unable to walk due to cardiac reasons are assigned 6MWD of 0 at 24 months. *ANCOVA model with baseline 6MWD and treatment effect as covariates
n=229
n=237
±166.7
±157.7
±173.3
±174.6
n=205
n=198
Notes: 18
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 20: 6MWD Outcomes All patients, ITT, 24 months
Chart: 6 Minute Walk Distance (m)
| Baseline | 12 Months | Baseline | 24 Months
GDMT alone | 246.4 | 188.8 | 242.4 | 152.5
MitraClip + GDMT | 261.3 | 256.7 | 262.2 | 203.7
n=229
n=237
n=205
n=198
±127.1
±125.3
±128.1
±127.5
Chart: 6MWD change from BL to 24 mo (LSM  SE)
GDMT alone | -93.5
MitaClip + GDMT | -55
Adjusted change (24 mo)*
P=0.01
±10.9
±10.8
Pts with adjudicated HF death or unable to walk due to cardiac reasons are assigned 6MWD of 0 at 24 months. *ANCOVA model with baseline 6MWD and treatment effect as covariates
n=229
n=237
±166.7
±157.7
±173.3
±174.6
n=205
n=198
Notes: 19
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 21: Adverse Event Rates (i) All patients, ITT, 36 months
 | MitraClip + GDMT (n=302) | GDMT alone (n=312) | HR [95% CI] | P-value
Death, all-cause | 42.8% | 55.5% | 0.67 [0.52, 0.85] | 0.001
- CV | 36.0% | 47.4% | 0.65 [0.49, 0.85] | 0.002
- HF-related | 21.6% | 34.7% | 0.51 [0.35, 0.74] | 0.004
- Non-HF-related | 18.4% | 19.8% | 0.88 [0.58, 1.34] | 0.55
- Non-CV | 10.6% | 15.5% | 0.74 [0.43, 1.27] | 0.27
Hospitalization, all-cause | 77.7% | 93.3% | 0.70 [0.58, 0.84] | <0.001
- CV | 64.6% | 86.7% | 0.58 [0.48, 0.72] | <0.001
- HF-related | 46.5% | 81.5% | 0.43 [0.34, 0.54] | <0.001
- Non-HF-related | 40.8% | 40.6% | 0.98 [0.73, 1.31] | 0.87
- Non-CV | 56.9% | 62.3% | 0.89 [0.71, 1.12] | 0.31
Death or HF hospitalization | 59.0% | 88.0% | 0.48 [0.39, 0.59] | <0.001
CV Death or HF hospitalization | 54.6% | 85.1% | 0.47 [0.38, 0.58] | <0.001
Event rates are Kaplan-Meier time to first event estimates (n of events)
Notes: 20
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. Top row, second from left
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. Small white rectangle

## Slide 22: Adverse Event Rates (ii) All patients, ITT, 36 months
 | MitraClip + GDMT (n=302) | GDMT alone (n=312) | HR [95% CI] | P-value
MV intervention or surgery* | 3.8% | 49.2% | 0.10 [0.05, 0.20] | <0.001
- MitraClip* | 3.5% | 47.1% | 0.10 [0.05, 0.20] | <0.001
- Mitral valve surgery | 0.4% | 3.3% | 0.12 [0.02, 0.97] | 0.05
PCI or CABG | 4.0% | 4.9% | 0.70 [0.29, 1.66] | 0.42
- PCI | 4.0% | 4.3% | 0.83 [0.34, 2.05] | 0.69
- CABG | 0.0% | 0.7% | - | 1.0
Stroke | 7.7% | 9.8% | 0.80 [0.41, 1.57] | 0.51
MI | 7.7% | 13.3% | 0.65 [0.35, 1.23] | 0.19
New CRT implant | 3.4% | 3.1% | 0.96 [0.36, 2.56] | 0.93
LVAD or heart transplant | 7.3% | 11.4% | 0.49 [0.25, 0.94] | 0.03
- LVAD | 5.4% | 8.6% | 0.48 [0.22, 1.04] | 0.06
- Heart transplant | 2.6% | 4.9% | 0.45 [0.15, 1.30] | 0.14
Event rates are Kaplan-Meier time to first event estimates (n of events)
Notes: 21
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. Top row, second from left
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. Small white rectangle

## Slide 23: LVAD or Heart Transplantation All patients, ITT, including crossovers
Chart: LVAD or Heart Transplant (%)
0-12 Months | 0.057 | 0.015
0-24 Months | 0.092 | 0.038
0-36 Months | 0.114 | 0.073
HR [95% CI] =
0.49 [0.25, 0.94]
P=0.03
GDMT Only
MitraClip + GDMT
0-12 mo
0-24 mo
0-36 mo
0-12 mo
0-24 mo
0-36 mo
Event rates are Kaplan-Meier time-to-first event estimates

## Slide 24: MitraClip Crossovers in GDMT-Assigned Patients
GDMT alone
(N=312)
MitraClip crossover
before 24 months
(N=5)*
No MitraClip crossover before 24 months
(N=138)
Not eligible for crossover at 24 months (N=169)
Death: 124
LVAD: 16
Transplant: 9
Withdrawals: 26
Lost to follow up: 3
Other†: 2
MitraClip crossover between 24 and 36 mos
(N=53/138; 38.4%)
No MitraClip crossover (N=85)
Total Crossover
(N=58/312; 18.6%)
Duration from randomization to crossover:
Median: 25.5 months; Range: 0.2 to 32.9 months
Follow-up after crossover:
Median: 7.7 months; Range: 0.0 to 43.6 months
†No FU data post 24 months
Pt may be in more than one category
*Protocol deviation

## Slide 25: MitraClip Procedure Outcomes (All pts undergoing a MitraClip procedure)
 | MitraClip + GDMT (N=302) | GDMT alone, MitraClip crossovers (N=58) | P-value
MitraClip procedure attempted | 293/302 (97.0%) | 58/58 (100%) | 
Clip implanted (MitraClip procedure attempted) | 287/293 (98.0%) | 55/58 (94.8%) | 0.17
Clip implanted (all patients) | 287/302 (95.0%) | 55/58 (94.8%) | 
Mean # of clips implanted | 1.7  0.7 (n=293) | 1.6 ± 0.7 (n=58) | 0.56
- 0 clips implanted | 6 (2.0%) | 3 (5.2%) | 0.17
- 1 clip implanted | 106 (36.2%) | 22 (37.9%) | 0.80
- 2 clips implanted | 157 (53.6%) | 27 (46.6%) | 0.33
- 3 clips implanted | 23 (7.9%) | 6 (10.3%) | 0.60
- 4 clips implanted | 1 (0.3%) | 0 (0.0%) | 1.00
Procedure duration (mins) | 162.9 ± 118.1 (293) | 132.9 ± 50.0 (57) | 0.002
- Device procedure time (mins) | 118.9  63.5 | 97.5 ± 46.2 (59) | 0.004
- Device time (mins) | 82.7  80.8 | 60.3 ± 34.8 (56) | <0.001
- Fluoroscopy time (mins) | 33.9  23.2 | 30.0 ± 15.5 (51) | 0.13
Notes: 24
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 26: MR Grade at Baseline and 30 Days
Chart: Proportion of patients (%)
| Baseline | 30-day follow-up | Baseline | 30-day follow-up | Baseline | Within 30 days after crossover
0/1+ | 0 | 0.729 | 0 | 0.078 | 0 | 0.833
2+ | 0 | 0.198 | 0 | 0.262 | 0 | 0.125
3+ | 0.49 | 0.059 | 0.553 | 0.375 | 0.596 | 0.042
4+ | 0.51 | 0.015 | 0.447 | 0.285 | 0.404 | 0
N=302 | N=273 | N=311 | N=256 | N=57 | N=48
MitraClip
+ GDMT
(all pts)
GDMT only -
58 crossovers censored
GDMT only -
58 MitraClip
crossover pts
MR grade within 30 days after crossover is defined as the MR grade at the scheduled 30-day post MC procedure visit, or MR grade at the latest echo up to 30 days post procedure if the 30-day post MC procedure MR is missing.
96%
93%
34%

## Slide 27: First Heart Failure Hospitalization GDMT pts censored at time of crossover; Crossovers landmarked at MitraClip procedure
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
80.9%
56.6%
# at Risk: |  |  |  |  |  |  | 
GDMT only, crossovers censored | 312 | 205 | 155 | 119 | 85 | 33 | 19
GDMT crossovers to MitraClip | 58 | 30 | 22 |  |  |  | 
GDMT alone, crossovers censored
GDMT crossovers to MitraClip
13.8%
For crossover patients, follow-up duration is from the crossover procedure date; events at procedure dates are excluded. Event rates are Kaplan-Meier time-to-first event estimates, with landmark analysis for crossover patients
Notes: 26
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 28: First Heart Failure Hospitalization GDMT pts censored at time of crossover; Crossovers landmarked at MitraClip procedure
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
80.9%
46.5%
56.6%
34.8%
MitraClip + GDMT
GDMT alone, crossovers censored
GDMT crossovers to MitraClip
13.8%
For crossover patients, follow-up duration is from the crossover procedure date; events at procedure dates are excluded. Event rates are Kaplan-Meier time-to-first event estimates, with landmark analysis for crossover patients
# at Risk: |  |  |  |  |  |  | 
MitraClip + GDMT | 302 | 238 | 196 | 176 | 148 | 101 | 66
GDMT only, crossovers censored | 312 | 205 | 155 | 119 | 85 | 33 | 19
GDMT crossovers to MitraClip | 58 | 30 | 22 |  |  |  | 
Notes: 27
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 29: Multivariable Predictors of First HFH Within 36 Months GDMT only group with MitraClip crossover as a time-adjusted covariate
 | Hazard Ratio [95% CI] | P-Value
Treatment with MitraClip | 0.42 [0.22, 0.80] | 0.009
Vasodilator use (hydralazine or nitrates) | 2.70 [1.90, 3.83] | <0.0001
BNP (per 100 pg/mL) | 1.02 [1.01, 1.03] | 0.0006
Beta-blocker use | 0.52 [0.32, 0.83] | 0.006
LVEF (per 10%) | 0.79 [0.66, 0.95] | 0.01
Variables entered the final model include: ACEi/ARB/ARNI use, age, beta-blocker use, BNP, body surface area, serum creatinine, treatment with MitraClip, vasodilator use (hydralazine or nitrates), KCCQ summary score, LVEDV, LVEF, renal disease, 6MWD, prior stroke, systolic BP, TR grade; other variables tested had 𝜶>0.20 in univariable analysis, were colinear with the present variables or had <90% values

## Slide 30: All-Cause Mortality GDMT pts censored at time of crossover; Crossovers landmarked at MitraClip procedure
# at Risk: |  |  |  |  |  |  | 
GDMT only, crossovers censored | 312 | 271 | 222 | 183 | 134 | 60 | 41
GDMT crossovers to MitraClip | 58 | 33 | 24 |  |  |  | 
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
56.5%
43.4%
GDMT alone, crossovers censored
GDMT, crossovers to MitraClip
For crossover patients, follow-up duration is from the crossover procedure date; events at procedure dates are excluded. Event rates are Kaplan-Meier time-to-first event estimates, with landmark analysis for crossover patients
18.2%
Notes: 29
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 31: All-Cause Mortality GDMT pts censored at time of crossover; Crossovers landmarked at MitraClip procedure
# at Risk: |  |  |  |  |  |  | 
MitraClip + GDMT | 302 | 269 | 238 | 219 | 189 | 128 | 93
GDMT only, crossovers censored | 312 | 271 | 222 | 183 | 134 | 60 | 41
GDMT crossovers to MitraClip | 58 | 33 | 24 |  |  |  | 
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
56.5%
42.8%
43.4%
28.2%
MitraClip + GDMT
GDMT alone, crossovers censored
GDMT, crossovers to MitraClip
For crossover patients, follow-up duration is from the crossover procedure date; events at procedure dates are excluded. Event rates are Kaplan-Meier time-to-first event estimates, with landmark analysis for crossover patients
18.2%
Notes: 30
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 32: Multivariable Predictors of Mortality Within 36 Months GDMT only group with MitraClip crossover as a time-adjusted covariate
Variables entered the final model include: ACEi/ARB/ARNI use, prior atrial fibrillation, age, aldosterone inhibitor use, history of anemia, beta-blocker use, BNP, serum creatinine, treatment with MitraClip, prior defibrillator implant, diabetes, diastolic BP, EROA, sex, hypertension, KCCQ summary score, prior PCI/CABG, PVD, renal disease, 6MWD, STS replacement score, systolic BP, TR grade, race; other variables tested had 𝜶>0.20 in univariable analysis, were colinear with the present variables,
or had <90% values
 | Hazard Ratio [95% CI] | P-Value
Treatment with MitraClip | 0.89 [0.43, 1.85] | 0.76
BNP (per 100 pg/mL) | 1.03 [1.02, 1.05] | < 0.0001
EROA (per 10 mm2) | 1.23 [1.10, 1.37] | 0.0004
Systolic blood pressure (per 1 mmHg) | 0.98 [0.97, 0.99] | 0.004
Beta-blocker use | 0.47 [0.28, 0.78] | 0.004
STS replacement score (per 1 unit) | 1.04 [1.01, 1.08] | 0.005
6MWD (per 10 meters) | 0.98 [0.96, 1.00] | 0.01
Female sex | 0.62 [0.41, 0.93] | 0.02
Serum creatinine (per 1 mg/dL) | 1.11 [1.01, 1.22] | 0.03
Prior defibrillator implant | 0.65 [0.44, 0.97] | 0.03

## Slide 33: All-Cause Mortality or HF Hospitalization GDMT pts censored at time of crossover; Crossovers landmarked at MitraClip procedure
# at Risk: |  |  |  |  |  |  | 
GDMT only, crossovers censored | 312 | 205 | 155 | 119 | 85 | 33 | 19
GDMT crossovers to MitraClip | 58 | 30 | 22 |  |  |  | 
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
87.0%
66.8%
For crossover patients, follow-up duration is from the crossover procedure date; events at procedure dates are excluded. Event rates are Kaplan-Meier time-to-first event estimates, with landmark analysis for crossover patients
GDMT alone, crossovers censored
GDMT, crossovers to MitraClip
28.0%
Notes: 32
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 34: All-Cause Mortality or HF Hospitalization GDMT pts censored at time of crossover; Crossovers landmarked at MitraClip procedure
Chart: Time after randomization (months)
| 36 | 0
 | 500 | 0
87.0%
58.8%
66.8%
44.5%
MitraClip + GDMT
GDMT alone, crossovers censored
GDMT, crossovers to MitraClip
28.0%
For crossover patients, follow-up duration is from the crossover procedure date; events at procedure dates are excluded. Event rates are Kaplan-Meier time-to-first event estimates, with landmark analysis for crossover patients
# at Risk: |  |  |  |  |  |  | 
MitraClip + GDMT | 302 | 238 | 196 | 176 | 148 | 101 | 66
GDMT only, crossovers censored | 312 | 205 | 155 | 119 | 85 | 33 | 19
GDMT crossovers to MitraClip | 58 | 30 | 22 |  |  |  | 
Notes: 33
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 35: Multivariable Predictors of Death or HFH Within 36 Months GDMT only group with MitraClip crossover as a time-adjusted covariate
Variables entered the final model include: ACEi/ARB/ARNI use, aldosterone inhibitor use, history of anemia, beta-blocker use, BNP, serum creatinine, treatment with MitraClip, EROA, sex, vasodilators (hydralazine or nitrates), LVEDV, LVEF, prior PCI/CABG, renal disease, 6MWD, prior stroke, STS replacement score, SBP, TR grade; other variables tested had 𝜶>0.20 in univariable analysis, were colinear with the present variables or had <90% values
 | Hazard Ratio [95% CI] | P-Value
Treatment with MitraClip | 0.43 [0.24, 0.78] | 0.006
BNP (per 100 pg/mL) | 1.02 [1.01, 1.03] | <0.0001
Vasodilator use (hydralazine or nitrates) | 1.91 [1.37, 2.66] | 0.0001
Systolic blood pressure (per 1 mmHg) | 0.99 [0.98, 1.00] | 0.004
STS replacement score (per 1 unit) | 1.04 [1.01, 1.07] | 0.005
Beta-blocker use | 0.57 [0.37, 0.88] | 0.01
LVEDV (per 10 mL) | 1.02 [1.00, 1.04] | 0.02

## Slide 36: Conclusions
At 36 months transcatheter mitral leaflet approximation with the MitraClip was safe, provided durable reduction in MR, reduced the rate of HF hospitalizations, and improved survival, QOL and functional capacity compared to GDMT alone
GDMT only-assigned pts who crossed-over and received a MitraClip experienced fewer HF hospitalizations and deaths or HFHs within 12 months than those who did not crossover, with rates comparable to pts originally assigned to the MitraClip
In pts with HF and 3+/4+ secondary MR who remained symptomatic despite maximally-tolerated GDMT:
Notes: 35
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)