## Slide 1
Scientific Sessions 2019
Randomized Clinical Trial Comparing a Rivaroxaban-based Strategy With an Antiplatelet-based Strategy for the Prevention of Subclinical Leaflet Thrombosis in Transcatheter Aortic Valves
Ole De Backer, MD, PhD – Rigshospitalet, Copenhagen, Denmark

## Slide 2
ScientificSessions.org
#AHA19
Subclinical hypoattenuated leaflet thickening (HALT) and reduced leaflet motion (RLM) of bioprosthetic aortic valves have been demonstrated by four-dimensional computed tomography (4DCT).
In a substudy of the large randomized GALILEO trial, we investigated whether anticoagulation can reduce these phenomena after transcatheter aortic valve replacement (TAVR).
Background

## Slide 3
ScientificSessions.org
#AHA19
Study design
Study population:
Patients with
successful TAVR
1-7 days
R
Rivaroxaban group
Antiplatelet group
4DCT-scan at 3 months
1:1

## Slide 4
ScientificSessions.org
#AHA19
Study population (ITT) – evaluable CT-scans

## Slide 5
ScientificSessions.org
#AHA19
Study Methodology – 4DCT analysis
Reduced leaflet motion (RLM) was defined as:
  Grade 0: normal/unrestricted
  Grade 1: minimally restricted (<25%)
  Grade 2: mildly restricted (25-50%)
  Grade 3: moderately restricted (50-75%)
  Grade 4: largely immobile (>75%)
Hypoattenuated leaflet thickening (HALT) was defined as visually identifiable increased leaflet thickness on contrast-enhanced multi-planar reformats, carefully aligned with the long and short axis of the valve prosthesis.
Grade 3 Grade 4
Grade 1 Grade 2
Blanke P, et al. JACC Cardiovasc Imaging. 2019;12:1-24.

## Slide 6
ScientificSessions.org
#AHA19
Study Endpoints
Primary endpoint
The proportion of patients with at least one prosthetic valve leaflet with reduced leaflet motion (RLM) ≥ grade 3
Secondary endpoints
The proportion of patients with at least one thickened leaflet (HALT)
The proportion of valve leaflets with HALT or RLM ≥ grade 3
Transprosthetic mean pressure gradient (TTE)
Safety and efficacy outcomes identical to main GALILEO trial

## Slide 7
ScientificSessions.org
#AHA19
4DCT outcomes
Primary endpoint

## Slide 8
ScientificSessions.org
#AHA19
Intention-to-treat (ITT)
4DCT outcomes
Per-protocol (PP)
Reduced leaflet motion
≥ grade 3
Leaflet thickening
Reduced leaflet motion
≥ grade 3
Leaflet thickening

## Slide 9
ScientificSessions.org
#AHA19
Echocardiographic outcomes

## Slide 10
ScientificSessions.org
#AHA19
Clinical outcomes
Too few clinical events to permit any assessment of the impact of
RLM and HALT on clinical outcomes
Clinical outcomes in the main GALILEO trial should be considered

## Slide 11
ScientificSessions.org
#AHA19
The overall proportions of patients with reduced leaflet motion (grade 3 or more) and leaflet thickening were 6.6% and 22.6%, respectively.
Both findings were less frequent with the rivaroxaban-based strategy than the antiplatelet-based strategy.
Echocardiography was not useful in identifying patients with these valvular abnormalities.
The rivaroxaban-based strategy was associated with a higher risk of death or thromboembolic complications and a higher risk of bleeding in the main GALILEO trial.
Conclusions

## Slide 12
Thank you!
ScientificSessions.org
#AHA19