## Slide 1: Efficacy and Safety of an External Support Device for Saphenous Vein Coronary Bypass Grafts: The VEST Trial
John Puskas, MD
Icahn School of Medicine at Mount Sinai, New York
For the NHLBI Cardiothoracic Surgical Trials Network

## Slide 2: Disclosures
Consultation agreements with Medtronic for OPCAB training
Royalty payments from Scanlan for coronary surgery instruments
Educational speaker’s honoraria from Edwards Life Sciences and Cryolife Inc
No conflicts of interest related to the present work.

## Slide 3: Background
Proliferative intimal hyperplasia of saphenous vein grafts after CABG predisposes to the later development of graft atherosclerosis and occlusion, resulting in adverse clinical outcomes
15% SVGs fail one
month after CABG
50% of all SVGs
fail by 10 years
External support of SVGs has the potential to prevent SVG dilation, slow the rate of intimal hyperplasia and increase long-term vein patency by
  Reducing SVG wall tension
  Reducing lumen irregularities
  Preventing SVG dilatation
  Improving hemodynamics and shear stress

## Slide 4: STUDY OBJECTIVES
To determine the efficacy of an external support device in limiting intimal hyperplasia by providing permanent support to saphenous vein grafts in patients who undergo CABG
To assess safety of the external support device
THE DEVICE
Braid of 42 cobalt chromium wires
Available in 16 dimensional models

## Slide 5: Study Population
Multi-vessel CAD
Planned and scheduled on-pump CABG
Two or more vein grafts:
  1 for the right coronary artery
  1 or more non LAD for the left coronary arteries
  Native vessels with ≥75% stenosis
IMA graft indicated for the LAD
Appropriately sized and accessible target coronary arteries as assessed by pre-operative cardiac angiography

## Slide 6: Study Design and intervention
Randomized, within-patient-controlled trial
One SVG bypass randomized to be supported
and another serves as control
Central core lab for reading of IVUS and cardiac angiography

## Slide 7: ENDPOINTS
PRIMARY: Intimal hyperplasia area assessed by IVUS at 1 year
SECONDARY CONFIRMATORY:
  Lumen diameter uniformity by cardiac angiography at 1 year, by the Fitzgibbon
  classification, on a 3-point ordinal scale :
      – No intimal irregularity
      – Irregularity of <50% of estimated intimal surface
      – Irregularity of >50% of estimated intimal surface
  Graft Failure (≥50% stenosis) by cardiac angiography/QCA at 1 year
SAFETY: MACCE over 12 months
Lumen
Intima
Media
AREA OF INTIMAL AND MEDIAL HYPERPLASIA (I + M)
External Elastic Membrane

## Slide 8: STATISTICAL ANALYSIS
Missing values of intimal hyperplasia due to occluded/diseased vessels preventing IVUS were imputed as non-ignorable missing data
  These vessels were penalized by higher imputed values
  Anticipated 13% of patients with occluded vessels
Modified Wilcoxon signed-rank test was used to compare supported and unsupported vessel on intimal hyperplasia favoring non occluded/non diseased vessels
Hierarchical testing of primary and secondary confirmatory endpoints:
  No testing of secondary endpoints is conducted if the null hypothesis is not rejected on the primary endpoint analysis

## Slide 9: PATIENT POPULATION
224 Patients Enrolled
448 SVGs Randomized
224 SVGs randomized to external support
223 Received external support
224 SVGs randomized to control
203 SVGs with device support
143 SVGs IVUS
55 SVGs occluded/severely diseased
5 SVGs technical issues with IVUS
Primary Analysis of IH
203 Patients
IH area by IVUS
203 SVGs without device support
142 SVGs with IVUS
56 SVGs occluded/severely diseased
5 SVGs technical issues with IVUS
113 Patients
Completed IVUS of both grafts
113 SVGs with device support
113 SVGs without device support
  21 excluded from analysis due to death, loss to follow-up or refusal to undergo IVUS

## Slide 10: PATIENT CHARACTERISTICS
 | All Patients (N=224)
Age (years) | 65.8 ± 8.3
Female | 20.5%
White | 92.1%
Hispanic or Latino | 9.1%
Medical History | 
Current smoker or ex-smoker | 54.9%
Diabetes | 50.9%
Hypertension | 85.3%
Hyperlipidemia | 83.9%
Prior stroke in past year | 0.9%
Prior myocardial infarction | 41.5%
Prior PCI | 24.6%
Cardiac Measures | 
NYHA Class III/IV | 12.1%
CCS Class III/IV | 37.1%
Left ventricular ejection fraction (%) | 54.4 ± 10.6
Operative Characteristics | 
Surgery time (min) | 268.5 ± 68.5
Clamp time (min) | 83.0 ± 25.8

## Slide 11: GRAFT CHARACTERISTICS
 | Device Supported (N=224) | Unsupported (N=224)
Native artery % stenosis |  | 
50%-74% stenosis | 0.4% | 0.0%
75%-99% occlusion | 87.5% | 83.5%
100% occlusion | 12.1% | 16.5%
Coronary artery diameter (mm%) | 1.8 ± 0.4 | 1.8 ± 0.4
Graft length (cm%) | 14.4 ± 3.2 | 14.7 ± 3.7
Systolic pressure at TTFM (mm Hg%) | 100.0 ± 22.3 | 100.6 ± 22.3
Final TTFM flow (mL/min%) | 47.8 ± 28.0 | 46.5 ± 30.2
Final TTFM pulsatility index | 2.6 ± 1.4 | 3.0 ± 1.7
Coronary target vessels |  | 
Diagonal | 14.7% | 12.9%
CRX | 0.4% | 2.2%
OM | 34.8% | 31.7%
RI | 4.5% | 3.6%
RCA | 12.1% | 7.1%
PDA/PLB | 33.5% | 42.4%
TTFM = Transit time flow measurement

## Slide 12: Angiography and IVUS AT 12 MONTHS
Chart: 
| Device Supported (N=203) | Device Unsupported (N=203)
IVUS performed | 0.70443 | 0.69951
100% Graft Occlusion | 0.23153 | 0.22167
Graft Diffuse Disease | 0.039409 | 0.054187
Technical Issues | 0.024631 | 0.024631
~ 42% of patients had at least one SVG occluded/diffuse disease

## Slide 13: PRIMARY ENDPOINT: INTIMAL HYPERPLASIA AREA at 12 months
 | Device Supported | Unsupported | P Value
Intimal hyperplasia area mm2 (Primary analysis with imputation, N=203) | 5.11 ± 0.16 SE | 5.79 ± 0.20 SE | 0.072
Intimal hyperplasia area mm2 (Sensitivity analysis based on IVUS of both grafts, N=113) | 4.58 ± 1.90 SD | 5.12 ± 2.47 SD | 0.043

## Slide 14: LUMEN DIAMETER UNIFORMITY BY FITZGIBBON CLASSIFICATION at 12 months
Chart: 
| Device Supported (N=153) | Device Unsupported (N=157)
I - No intimal irregularity | 0.59477 | 0.53503
II - Irregularity of <50% of estimated intimal surface | 0.33987 | 0.40764
III - Irregularity of >50% of estimated intimal surface | 0.065359 | 0.057325

## Slide 15: GRAFT FAILURE AT 12 MONTHS
≥50% stenosis by angiography/QCA
Chart: 
| Device Supported (N=202) | Device Unsupported (N=202)
<50% stenosis | 0.698 | 0.738
≥50% stenosis | 0.302 | 0.262

## Slide 16: 12 MONTH SAFETY
Protocol defined MACCE (N = 224) | # of Patients (%)
Mortality | 5 (2.2)
Stroke | 6 (2.7)
Myocardial Infarction | 7 (3.1)
Ischemic driven target vessel revascularization of supported graft or associated target coronary artery | 3 (1.3)
Composite MACCE | 16 (7.1)
Revascularizations of non supported grafts/non ischemic territories | 10 (4.5)

## Slide 17: CONCLUSIONS
Difference in intimal hyperplasia between supported and unsupported SVGs did not reach statistical significance while accounting for the occluded/severely diseased SVGs
  Higher than expected rate of occlusion/diseased vessels
  Lower intimal hyperplasia area in a sensitivity analysis of patients who completed IVUS of both SVGs
No safety signals observed in the study
Further investigation of external graft support devices intended to improve long-term graft patency and clinical outcomes --in conjunction with novel measures to mitigate early graft occlusion-- is warranted

## Slide 18: ACKNOWLEDGMENTS
All study participants
Conducted within the NHLBI sponsored Cardiothoracic Surgical Trials Network (CTSN)
Coordinating Center, Icahn School of Medicine at Mount Sinai, NY
Supported by Vascular Graft Solutions (Tel Aviv, Israel)
Participating Centers Hôpital Laval
University of Maryland
Dartmouth-Hitchcock Medical Center
Montefiore - Einstein
University of Virginia Health System
London Health Sciences Centre
Baylor Research Institute
Mount Sinai Health System
Lutheran Hospital
University of Pennsylvania
WakeMed Health & Hospitals
Mayo Clinic
Montreal Heart Institute
Duke University
Columbia University Medical Center
University of Southern California
Cleveland Clinic Foundation

## Slide 19: THANK YOU