## Slide 1: TCT Template Title 30 pt Bold Arial
John Doe, MD
Subtitle 25 pt Arial Bold Italics
Long-term Outcomes Following Catheter-Based Renal Denervation in Patients with Uncontrolled Hypertension:
Final Follow-up of the SYMPLICITY HTN-3 Trial
Deepak L. Bhatt, MD, MPH, MSCAI
on Behalf of the SYMPLICITY HTN-3 Steering Committee and Investigators

## Slide 2
Dr. Bhatt served as the co-Principal Investigator of SYMPLICITY HTN-3 with funding from Medtronic paid to Brigham and Women’s Hospital and discloses the following relationships –
Advisory Board: AngioWave, Bayer, Boehringer Ingelheim, Cardax, CellProthera, Cereno Scientific, Elsevier Practice Update Cardiology, High Enroll, Janssen, Level Ex, McKinsey, Medscape Cardiology, Merck, MyoKardia, NirvaMed, Novo Nordisk, PhaseBio, PLx Pharma, Regado Biosciences, Stasys;
Board of Directors: AngioWave (stock options), Boston VA Research Institute, Bristol Myers Squibb (stock), DRS.LINQ (stock options), High Enroll (stock), Society of Cardiovascular Patient Care, TobeSoft;
Chair: Inaugural Chair, American Heart Association Quality Oversight Committee;
Consultant: Broadview Ventures;
Data Monitoring Committees: Acesion Pharma, Assistance Publique-Hôpitaux de Paris, Baim Institute for Clinical Research (formerly Harvard Clinical Research Institute, for the PORTICO trial, funded by St. Jude Medical, now Abbott), Boston Scientific (Chair, PEITHO trial), Cleveland Clinic (including for the ExCEED trial, funded by Edwards), Contego Medical (Chair, PERFORMANCE 2), Duke Clinical Research Institute, Mayo Clinic, Mount Sinai School of Medicine (for the ENVISAGE trial, funded by Daiichi Sankyo; for the ABILITY-DM trial, funded by Concept Medical), Novartis, Population Health Research Institute; Rutgers University (for the NIH-funded MINT Trial);
Honoraria: American College of Cardiology (Senior Associate Editor, Clinical Trials and News, ACC.org; Chair, ACC Accreditation Oversight Committee), Arnold and Porter law firm (work related to Sanofi/Bristol-Myers Squibb clopidogrel litigation), Baim Institute for Clinical Research (formerly Harvard Clinical Research Institute; RE-DUAL PCI clinical trial steering committee funded by Boehringer Ingelheim; AEGIS-II executive committee funded by CSL Behring), Belvoir Publications (Editor in Chief, Harvard Heart Letter), Canadian Medical and Surgical Knowledge Translation Research Group (clinical trial steering committees), Cowen and Company, Duke Clinical Research Institute (clinical trial steering committees, including for the PRONOUNCE trial, funded by Ferring Pharmaceuticals), HMP Global (Editor in Chief, Journal of Invasive Cardiology), Journal of the American College of Cardiology (Guest Editor; Associate Editor), K2P (Co-Chair, interdisciplinary curriculum), Level Ex, Medtelligence/ReachMD (CME steering committees), MJH Life Sciences, Oakstone CME (Course Director, Comprehensive Review of Interventional Cardiology), Piper Sandler, Population Health Research Institute (for the COMPASS operations committee, publications committee, steering committee, and USA national co-leader, funded by Bayer), Slack Publications (Chief Medical Editor, Cardiology Today’s Intervention), Society of Cardiovascular Patient Care (Secretary/Treasurer), WebMD (CME steering committees), Wiley (steering committee);
Other: Clinical Cardiology (Deputy Editor), NCDR-ACTION Registry Steering Committee (Chair), VA CART Research and Publications Committee (Chair); Patent: Sotagliflozin (named on a patent for sotagliflozin assigned to Brigham and Women's Hospital who assigned to Lexicon; neither I nor Brigham and Women's Hospital receive any income from this patent.)
Research Funding: Abbott, Acesion Pharma, Afimmune, Aker Biomarine, Amarin, Amgen, AstraZeneca, Bayer, Beren, Boehringer Ingelheim, Boston Scientific, Bristol-Myers Squibb, Cardax, CellProthera, Cereno Scientific, Chiesi, CSL Behring, Eisai, Ethicon, Faraday Pharmaceuticals, Ferring Pharmaceuticals, Forest Laboratories, Fractyl, Garmin, HLS Therapeutics, Idorsia, Ironwood, Ischemix, Janssen, Javelin, Lexicon, Lilly, Medtronic, Merck, Moderna, MyoKardia, NirvaMed, Novartis, Novo Nordisk, Owkin, Pfizer, PhaseBio, PLx Pharma, Recardio, Regeneron, Reid Hoffman Foundation, Roche, Sanofi, Stasys, Synaptic, The Medicines Company, 89Bio;
Royalties: Elsevier (Editor, Braunwald’s Heart Disease);
Site Co-Investigator: Abbott, Biotronik, Boston Scientific, CSI, Endotronix, St. Jude Medical (now Abbott), Philips, SpectraWAVE, Svelte, Vascular Solutions;
Trustee: American College of Cardiology;
Unfunded Research: FlowCo, Takeda.
Disclosure Statement of Financial Interest
UNLABELED/UNAPPROVED USES DISCLOSURE
In the United States, the use of renal denervation in hypertensive patients is limited to investigational use only.

## Slide 3: Background
SYMPLICITY HTN-3 is the first and largest randomized, sham-controlled clinical trial of renal denervation (RDN) for uncontrolled hypertension (HTN)
At 6 months, the primary safety endpoint was met, however the primary efficacy endpoint was not achieved in the overall trial1
  Predictor analyses for these initial results identified potential confounding factors of medication changes, specific patient subgroups, and procedural factors2
Long term data from HTN-3 assessing progression of the RDN treatment effect, and the impact of sham control, have not been previously presented
1 Bhatt DL, et al. N Engl J Med. 2014;370:1393–1401.
2 Kandzari DE, et al. Eur Heart J. 2015;36(4):219–27.

## Slide 4: Endpoints at 6 Months
Chart: 
| Office SBP | 24-hr SBP | Nighttime SBP
RDN | -14.13 | -6.75 | -6.1
Sham | -11.74 | -4.79 | -1.6
Nighttime SBP2
(1-6 am)
24-hour SBP1
(powered 2⁰ endpoint)
Office SBP1
(powered 1⁰ endpoint)
Δ -2.0 mmHg
P*=0.98
P=0.015
Δ -2.4 mmHg
P*=0.26
Met primary safety endpoint:1 Major adverse event (MAE) 1.4% observed vs 9.8% performance goal; P<0.001
BP change at 6 months (mmHg)
*P-value for superiority using a pre-specified superiority margin
1 Bhatt DL, et al. N Engl J Med. 2014;370:1393–1401.
2 Kario K, et al. Hypertension. 2015;66(6):1130-7.

## Slide 5: HTN-3 Trial Design
Randomized, sham-controlled, blinded trial at 88 US sites
Radiofrequency (RF) RDN using 1st gen. Symplicity Flex™ catheter
KEY INCLUSION CRITERIA
Patients with resistant HTN
  Office SBP ≥160 mm Hg
  24hr ABPM ≥135 mm Hg
On ≥3 anti-HTN medications
  Maximum tolerated dose
  Including a diuretic
  No drug testing
Clinicaltrials.gov: NCT01418261
Bhatt DL, et al. N Engl J Med. 2014;370:1393-1401.
In the United States, the use of renal denervation in hypertensive patients is limited to investigational use only.
2:1 Randomization
1 Patients, BP assessors, and study personnel were all blinded to treatment assignment until 6-month primary endpoint
2 Sham control patients were allowed to cross over to RDN therapy after 6 months if they still met inclusion/exclusion criteria
3 Until 6-month follow-up, antihypertensive medication changes were not allowed unless clinically required
Sham control
(N=171)
RDN
(N=364)
1M
3M
24M
18M
12M
4Y
36M
30M
6M
1M
3M
24M
12M
6M
Primary endpoint
5Y
4Y
36M
Medication changes allowed3
Crossover2
Unblinding1

## Slide 6: Methods
All clinicians and patients were un-blinded after the primary endpoint at 6 months
Sham control patients were allowed to cross over and receive the RDN procedure following the primary endpoint if they continued to meet inclusion/exclusion criteria
  For control subjects who crossed over to RDN, the last blinded 6-month BP and medication data pre-crossover were imputed out to 3 years by LOCF (last observation carried forward)1,2
Notable protocol changes following the primary endpoint:
  Additional long-term 24-hr BP measurements were added, but not all patients re-consented
  Follow-up was reduced from 5 years to 3 years in consultation with the FDA; however, several patients had already completed a FU past 3 years
Here we present the final long-term outcomes out to at least 3 years
1 Mahfoud F, et al. Lancet. 2022;399:1401-10.
2 Papp KA, et al. Curr Med Res Opin. 2008;24(7):2001-8.

## Slide 7: Patient Disposition
Control group at f/u
Crossover to RDN
(N=101)
6M post-RDN f/u 97% (n=93/96)
12M post-RDN f/u
89% (n=84/94)
Sham control
(N=171)
24M post-RDN f/u
80% (n=69/86)
24M follow-up
79% (n=265/335)
12M follow-up
91% (n=322/354)
RDN (N=364)
36M follow-up
70% (n=219/311)
6M follow-up
97% (n=350/361)
48M follow-up
37% (n=105/281)
54M follow-up
26% (n=38/147)
36M post-RDN f/u
71% (n=53/75)
48M post-RDN f/u
26% (n=9/34)
6M follow-up
99% (n=169/171)
unblinding
Non-Crossover
(N=70)
12M follow-up
77% (n=48/62)
36M follow-up
69% (n=33/48)
48M follow-up
36% (n=16/44)
24M follow-up
69% (n=37/54)
535 Patients randomized 2:1
Primary endpoint
Due to the protocol change in final study duration, not all patients were eligible for continued follow-up after 36 months.
Imputation
using blinded 6-month BP & medication data
prior to crossover
(LOCF)

## Slide 8: Patient Characteristics
mean ± SD or % | RDN N=364 | Crossover N=101 | Non-Crossover N=70 | P-value
Blood pressure (BP, mmHg) | baseline | pre-crossover* |  | 
Office systolic BP | 180 ± 16 | 184 ± 19* | 146 ± 25* | <0.0001
Office diastolic BP | 97 ± 17 | 102 ± 16* | 83 ± 13* | <0.0001
24-hr ambulatory systolic BP | 159 ± 13 | 163 ± 16* | 140 ± 15* | <0.0001
24-hr ambulatory diastolic BP | 88 ± 14 | 94 ± 14* | 78 ± 11* | <0.0001
Baseline demographics |  |  |  | 
Age (yrs) | 58 ± 10 | 55 ± 11 | 58 ± 12 | 0.08
Male sex | 59.1 | 62.4 | 67.1 | 0.19
Black race | 24.8 | 27.7 | 31.4 | 0.46
Baseline medical history |  |  |  | 
Coronary artery disease | 27.7 | 28.7 | 22.9 | 0.47
Diabetes type 2 | 47.3 | 37.6 | 47.1 | 0.24
Obstructive sleep apnea | 25.8 | 37.6 | 24.3 | 0.06
CKD (eGFR <60ml/min/1.73m2) | 9.6 | 10.9 | 10.0 | 0.90
Prior stroke | 8.5 | 11.9 | 10.0 | 0.54
History of hypertensive crisis | 23.1 | 20.8 | 24.3 | 0.84
Prescribed anti-hypertensive drugs >10 yrs | 68.1 | 72.3 | 62.9 | 0.44
*Measures for the crossover and non-crossover groups are the blinded, 6M f/u values used to determine eligibility for the crossover RDN procedure.
P-values for BP compare crossover with non-crossover only. All other P-values are three-way comparisons.

## Slide 9: Safety Outcomes
* Reported safety events in crossover patients begins at time of crossover.
** Defined as composite of death from any cause, end-stage renal disease, an embolic event resulting in end-organ damage, renal-artery or other vascular complications, hypertensive crisis, or new renal-artery stenosis >70% within 6 months
% (n) | RDN | Crossover* | Non-Crossover
To 36 Months | (n=290) | (n=68) | (n=46)
Composite Safety Endpoint to 36 months** | 12.4% | 12.4% | 14.5%
Death | 4.1% (12) | 5.9% (4) | 10.9% (5)
New-onset end-stage renal disease | 3.4% (10) | 0 | 0
Sig. embolic event resulting in end-organ damage | 0.3% (1) | 0 | 0
Vascular complication | 0.3% (1) | 0 | 0
Renal artery re-intervention | 1.0% (3) | 0 | 0
Hypertensive crisis/emergency | 10.7% (31) | 11.8% (8) | 10.9% (5)
To 48 Months | (n=217) | (n=35) | (n=33)
Composite Safety Endpoint to 48 months** | 15.3% | 13.5% | 14.5%
Death | 8.3% (18) | 17.1% (6) | 15.2% (5)
New-onset end-stage renal disease | 5.1% (11) | 0 | 0
Sig. embolic event resulting in end-organ damage | 0.5% (1) | 0 | 0
Vascular complication | 0.5% (1) | 0 | 0
Renal artery re-intervention | 1.4% (3) | 0 | 0
Hypertensive crisis/emergency | 16.6% (36) | 22.9% (8) | 15.2% (5)

## Slide 10: Prescribed Anti-Hypertensive Medications
Chart: 
| Baseline | 6M | 12M | 24M | 36M
RDN | 4.9 | 4.8 | 4.7 | 4.6 | 4.6
Control | 5 | 4.9 | 4.7 | 4.7 | 4.7
Number of medication classes1
P=0.45 | P=0.35 | P=0.64 | P=0.41 | P=0.62
RDN
Control
1 No drug testing performed to assess medication adherence.
2 DDD is stated by WHO as the assumed average maintenance dose per day of a drug, based on class and daily dosage per AH medication.
P-value calculated at baseline using t-test and all follow-up comparisons using ANCOVA.
Control group include LOCF medication values for crossover patients from 6 months (blinded).
Chart: 
| Baseline | 6M | 12M | 24M | 36M
RDN | 10.2 | 9.8 | 9.4 | 8.8 | 8.4
Control | 10.2 | 10.1 | 9.8 | 9.8 | 9.7
Medication burden1,2
(based on dose per day of a drug, DDD)
P=0.96 | P=0.16 | P=0.15 | P=0.01 | P=0.005
n: 364 | 355 | 335 | 292 | 242
n: 171 | 170 | 154 | 146 | 138
n: 364 | 355 | 335 | 292 | 242
n: 171 | 170 | 154 | 146 | 138
Notes: World Health Organization Collaborating Centre for Drug Statistics Methodology. ATC Classification Index with DDDs. Accessed [2019 february 25]; Available from: https://www.whocc.no/use_of_atc_ddd/.

## Slide 11: Change in Office Systolic BP
Treatment differences and p-values are ANCOVA adjusted for baseline BP.
Control blood pressure measures include LOCF for crossover patients from 6 months (blinded).
Chart: Systolic BP change from baseline (mmHg)
| 12M | 24M | 36M
RDN | -18.9 | -24.1 | -26.4
Control | -6.3 | -4.3 | -5.7
12mo
24mo
36mo
Δ -13.4 mmHg
P<0.0001
Δ -20.7 mmHg
P<0.0001
Δ -22.1 mmHg
P<0.0001
n=320
n=266
n=219
n=149
n=137
n=134
RDN (baseline 180 mmHg)
Control (baseline 180 mmHg)

## Slide 12: Change in Office Systolic BP
Chart: Systolic BP change from baseline (mmHg)
| 12M | 24M | 36M
RDN | -18.9 | -24.1 | -26.4
Control | -6.3 | -4.3 | -5.7
12mo
24mo
36mo
Δ -13.4 mmHg
P<0.0001
Δ -20.7 mmHg
P<0.0001
Δ -22.1 mmHg
P<0.0001
Treatment differences and p-values are ANCOVA adjusted for baseline BP.
Control blood pressure measures include LOCF for crossover patients from 6 months (blinded).
Data beyond 36 months are not reported for the control arm because sample size was too small for imputation.
n=320
n=266
n=219
n=149
n=137
n=134
RDN (baseline 180 mmHg)
Control (baseline 180 mmHg)
Chart: 
| 48M | 54M
RDN | -31.9 | -30.9
n=39
n=104
48mo
54mo

## Slide 13: Change in Office Diastolic BP
Chart: Diastolic BP change from baseline (mmHg)
| 12M | 24M | 36M
RDN | -7.8 | -10.6 | -12.2
Control | -2.3 | -2.3 | -2
12mo
24mo
36mo
Δ -6.2 mmHg
P<0.0001
Δ -9.5 mmHg
P<0.0001
Δ -12.0 mmHg
P<0.0001
Treatment differences and p-values are ANCOVA adjusted for baseline BP.
Control blood pressure measures include LOCF for crossover patients from 6 months (blinded).
Data beyond 36 months are not reported for the control arm because sample size was too small for imputation.
n=320
n=266
n=219
n=149
n=137
n=134
RDN (baseline 97 mmHg)
Control (baseline 99 mmHg)
Chart: 
| 48M | 54M
RDN | -14.8 | -15.1
n=39
n=104
48mo
54mo

## Slide 14: Change in 24-Hour Systolic BP
Chart: Systolic BP change from baseline (mmHg)
| 12M | 24M | 36M
RDN | -7.5 | -11.9 | -15.6
Control | -0.1 | 0.2 | -0.3
12mo
24mo
36mo
Δ -8.5 mmHg
P<0.0001
Δ -12.6 mmHg
P<0.0001
Δ -16.5 mmHg
P<0.0001
Treatment differences and p-values are ANCOVA adjusted for baseline BP.
Control blood pressure measures include LOCF for crossover patients from 6 months (blinded).
Data beyond 36 months are not reported for the control arm because sample size was too small for imputation.
n=256
n=188
n=152
n=116
n=124
n=119
RDN (baseline 159 mmHg)
Control (baseline 159 mmHg)
Chart: 
| 48M
RDN | -16.3
n=68
48mo

## Slide 15: Change in 24-hour Diastolic BP
Chart: Diastolic BP change from baseline (mmHg)
| 12M | 24M | 36M
RDN | -4.6 | -7.2 | -9.9
Control | -0.4 | -0.7 | -0.5
12mo
24mo
36mo
Δ -5.6 mmHg
P<0.0001
Δ -7.5 mmHg
P<0.0001
Δ -11.2 mmHg
P<0.0001
Treatment differences and p-values are ANCOVA adjusted for baseline BP.
Control blood pressure measures include LOCF for crossover patients from 6 months (blinded).
Data beyond 36 months are not reported for the control arm because sample size was too small for imputation.
n=256
n=188
n=152
n=116
n=124
n=119
RDN (baseline 88 mmHg)
Control (baseline 91 mmHg)
Chart: 
| 48M
RDN | -10.2
n=68
48mo

## Slide 16: 24-Hour Systolic BP Baseline vs 36 Months
Control
RDN
00:00
02:00
04:00
06:00
08:00
10:00
12:00
14:00
16:00
18:00
20:00
22:00
Night-time
P=0.23
Morning
P=0.71
Daytime
P=0.36
baseline (n=169)
36 months (n=120)
170
160
150
140
130
00:00
02:00
04:00
06:00
08:00
10:00
12:00
14:00
16:00
18:00
20:00
22:00
Night-time
P<0.001
Morning
P<0.001
Daytime
P<0.001
baseline (n=360)
36 months (n=152)
170
160
150
140
130
24-hr systolic BP (mm Hg)

## Slide 17: Office Systolic BP Distribution (% Patients)
Chart: 
| baseline | 6 months | 36 months
<140 mmHg | 0 | 15.1 | 27.4
>=140 and <150 mmHg | 0 | 12.3 | 22.8
>=150 mmHg and <160 mmHg | 0 | 15.1 | 17.8
>=160 and <180 mmHg | 58.5 | 31.1 | 20.1
>=180 mmHg | 41.5 | 26.3 | 11.9
Chart: 
| baseline | 6 months | 36 months
<140 mmHg | 0 | 0 | 27
>=140 and <150 mmHg | 0 | 0 | 11.1
>=150 mmHg and <160 mmHg | 0 | 0 | 20.6
>=160 and <180 mmHg | 56.4 | 54.5 | 12.7
>=180 mmHg | 43.6 | 45.5 | 28.6
P<0.001
P<0.001
Crossover to RDN
RDN
≥180 mmHg
≥160 and <180 mmHg
≥150 and <160 mmHg
≥140 and <150 mmHg
<140 mmHg
Baseline
(N=364)
6 Mo
(n=350)
36 Mo
(n=219)
P<0.001
Baseline
(N=101)
6 Mo
(n=101)
36 Mo
(n=63)
P=0.59
RDN procedure
RDN procedure

## Slide 18: Limitations
Patients were unblinded after 6 months; however, crossover patients’ BPs after 6 months were imputed utilizing blinded 6-month BP values
Due to crossover, the number of control patients at long term follow up was smaller, but sensitivity analyses in which all missing data were imputed showed consistent results
Drug testing (urine/serum) to assess patient adherence to antihypertensive medications was not performed; however, patients were on maximum tolerated doses of medications

## Slide 19: Conclusion
The final follow-up from the SYMPLICITY HTN-3 trial, the largest and longest RCT of RDN to date, demonstrates:
RDN was safe through long-term follow-up, with no late-emerging complications
Despite potential confounding factors, significant reductions were seen after RDN vs control in office and 24-h BP out to 3 years, independent of medications
These findings support that durable blood pressure reductions with radiofrequency renal artery denervation in the presence of lifestyle modification and maximal medical therapy are safely achievable

## Slide 20: Simultaneous Publication
Bhatt DL, et al. Lancet. Published online September 18, 2022.

## Slide 21: TCT Template Title 30 pt Bold Arial
John Doe, MD
Subtitle 25 pt Arial Bold Italics
Long-term Outcomes Following Catheter-Based Renal Denervation in Patients with Uncontrolled Hypertension:
Final Follow-up of the SYMPLICITY HTN-3 Trial
Deepak L. Bhatt, MD, MPH, MSCAI
on Behalf of the SYMPLICITY HTN-3 Steering Committee and Investigators

## Slide 22: HTN-3 vs SPYRAL HTN – ON MED Study Comparison
 | HTN-3 | SPYRAL HTN – ON MED1
RDN technology | Radio-frequency ablation | Radio-frequency ablation
Catheter | 1st generation, Symplicity (Flex)™ 1 electrode | 2nd generation, Symplicity Spyral™ 4 electrodes
Treatment location | Main renal artery only | Main renal artery and branches
Mean number of ablations / pt | 11.2 ± 2.8 | 45.9 ± 13.7
1 Mahfoud F, et al. Lancet. 2022;399:1401-10.

## Slide 23: HTN-3 vs SPYRAL HTN-ON MED: RDN Patients
Chart: Systolic BP (mmHg) change from baseline
| 12M | 24M | 36M
HTN-3 | -18.1 | -23.2 | -25.2
ON MED | -19.2 | -26.7 | -28.5
n=320
n=266
n=219
n=38
n=34
n=33
12mo
24mo
36mo
Δ 1.1 mmHg
P=0.81
Δ 3.5 mmHg
P=0.46
Δ 3.2 mmHg
P=0.50
Office SBP
Chart: 
| 12M | 24M | 36M
HTN-3 | -7.1 | -11.1 | -15
ON MED | -12.9 | -20.4 | -22.1
n=256
n=188
n=152
n=36
n=33
n=30
12mo
24mo
36mo
Δ 5.8 mmHg
P=0.08
Δ 9.3 mmHg
P=0.004
Δ 7.1 mmHg
P=0.06
24hr SBP
Results are ANCOVA adjusted for baseline BP and number of prescribed AH medications at each timepoint.
1 Mahfoud F, et al. Lancet. 2022;399:1401-10.
SYMPLICITY HTN-3
SPYRAL HTN – ON MED1