## Slide 1
5-Year Follow-Up After Transcatheter Repair of Secondary Mitral Regurgitation
The COAPT Trial
Gregg W. Stone, MD
On behalf of Michael J. Mack, William T. Abraham, JoAnn Lindenfeld and the COAPT investigators

## Slide 2
Speaker honoraria: Abbott
Consulting fees or equity: Neovasc, Ancora, Valfix, Cardiac Success
Institutional: Mount Sinai receives research funding from Abbott
Relevant Disclosures

## Slide 3: The COAPT Trial
Cardiovascular Outcomes Assessment of the MitraClip Percutaneous Therapy for Heart Failure Patients with Functional Mitral Regurgitation
A parallel-controlled, open-label, multicenter trial in 614 patients with heart failure and moderate-to-severe (3+) or severe (4+) secondary MR who remained symptomatic despite maximally-tolerated GDMT
Randomize 1:1*
GDMT alone
N=312
MitraClip + GDMT
N=302
*Stratified by cardiomyopathy etiology (ischemic vs. non-ischemic) and site
Stone GW et al. N Engl J Med. 2018;379:2307-18
Notes: 2
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 4: Background
In the COAPT trial, treatment of symptomatic patients with heart failure (HF) and severe secondary MR with the MitraClip safely improved survival through 24 months, reduced HF hospitalizations (HFH), and improved quality-of-life compared with maximally-tolerated guideline-directed medical therapy (GDMT) alone
Per protocol, subjects randomized to GDMT were not allowed to “crossover” to the MitraClip prior to 24 months, but were permitted to do so after 24 months
Notes: 3
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 5: Objectives
The present study sought to:
Describe the final 5-year clinical outcomes of patients enrolled in the COAPT trial
Analyze the impact of MitraClip treatment in patients assigned to GDMT alone

## Slide 6: Key Inclusion Criteria
Moderate-to-severe (3+) or severe (4+) secondary MR confirmed by an echo core laboratory (US ASE criteria)
LVEF 20%-50% and LVESD ≤70 mm
NYHA class II-IVa despite a stable maximally-tolerated GDMT regimen and CRT (if appropriate) per societal guidelines
HFH within 12 months and/or weight-adjusted BNP ≥300 pg/ml* or NT-proBNP ≥1500 pg/ml*
Notes: 5
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 7: Key Exclusion Criteria
ACC/AHA stage D HF, hemodynamic instability or shock
CAD requiring revascularization
COPD requiring continuous home O2 or chronic oral steroid use
Severe PHTN or mod/sev RV dysfunction
AV or TV disease requiring surgery or transcatheter intervention
MV orifice area <4.0 cm2 by site-assessed TTE
Notes: 6
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 8
N=293
N=9
N=1
N=311
MitraClip + GDMT
N=302
GDMT alone
N=312
N=297/302 (98.3%)
N=307/312 (98.4%)
Withdrew 4 1 Lost to follow-up
Withdrew 5 0 Lost to follow-up
N=294/302 (97.4%)
N=291/312 (93.3%)
Withdrew 3 0 Lost to follow-up
Withdrew 16 0 Lost to follow-up
N=286/302 (94.7%)
N=277/312 (88.8%)
Withdrew 5 3 Lost to follow-up
Withdrew 11 3 Lost to follow-up
N=282/302 (93.4%)
N=269/312 (86.2%)
Withdrew 3 1 Lost to follow-up
Withdrew 7 1 Lost to follow-up
N=275/302 (91.1%)
N=265/312 (84.9%)
Withdrew 6 1 Lost to follow-up
Withdrew 3 1 Lost to follow-up
Initial treatment
MitraClip
GDMT alone
30-day follow-up
1-year follow-up
2-year follow-up
3-year follow-up
4-year follow-up
5-year follow-up
N=270/302 (89.4%)
N=264/312 (84.6%)
Withdrew 4 1 Lost to follow-up
Withdrew 1 0 Lost to follow-up
N=614 at 78 sites
in the US and Canada
Randomized
Notes: 7
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 9: Baseline Characteristics (i)
 | MitraClip + GDMT (N=302) | GDMT alone (N=312) |  | MitraClip + GDMT (N=302) | GDMT alone (N=312)
Age (years) | 71.7 ± 11.8 | 72.8 ± 10.5 | BMI (kg/m2) | 27.0 ± 5.8 | 27.1 ± 5.9
Male | 66.6% | 61.5% | CrCl (ml/min) | 50.9 ± 28.5 | 47.8 ± 25.0
Diabetes | 35.1% | 39.4% | - ≤60 ml/min | 71.6% | 75.2%
Hypertension | 80.5% | 80.4% | Anemia (WHO) | 59.8% | 62.7%
Hyperchol. | 55.0% | 52.2% | BNP (pg/mL) | 1015 ± 1086 | 1017 ± 1219
Prior MI | 51.7% | 51.3% | NT-proBNP (pg/mL) | 5174 ± 6567 | 5944 ± 8438
Prior PCI | 43.0% | 49.0% | STS replacement sc | 7.8 ± 5.5 | 8.5 ± 6.2
Prior CABG | 40.1% | 40.4% | - ≥8 | 41.7% | 43.6%
Prior stroke or TIA | 18.5% | 15.7% | Surgical risk (central eligibility committee) |  | 
PVD | 17.2% | 18.3% | - High* | 68.6% | 69.9%
COPD | 23.5% | 23.1% | - Not-high | 31.4% | 30.1%
H/o atrial fibr | 57.3% | 53.2% |  |  | 
* STS repl score ≥8% or one or more factors present predicting extremely high surgical risk
Notes: 8
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 10: Baseline Characteristics (ii)
HF parameters | MitraClip + GDMT (N=302) | GDMT alone (N=312) | Echo core lab | MitraClip + GDMT (N=302) | GDMT alone (N=312)
Etiology of HF |  |  | MR severity |  | 
- Ischemic | 60.9% | 60.6% | - Mod-to-sev (3+) | 49.0% | 55.3%
- Non-ischemic | 39.1% | 39.4% | - Severe (4+) | 51.0% | 44.7%
NYHA class |  |  | EROA, cm2 | 0.41 ± 0.15 | 0.40 ± 0.15
- I | 0.3% | 0% | LVESD, cm | 5.3 ± 0.9 | 5.3 ± 0.9
- II | 42.7% | 35.4% | LVEDD, cm | 6.2 ± 0.7 | 6.2 ± 0.8
- III | 51.0% | 54.0% | LVESV, mL | 135.5 ± 56.1 | 134.3 ± 60.3
- IV | 6.0% | 10.6% | LVEDV, mL | 194.4 ± 69.2 | 191.0 ± 72.9
HF hosp w/i 1 year | 58.3% | 56.1% | LVEF, % | 31.3 ± 9.1 | 31.3 ± 9.6
Prior CRT | 38.1% | 34.9% | - 40% | 82.2% | 82.0%
Prior defibrillator | 30.1% | 32.4% | RVSP, mmHg | 44.0 ± 13.4 | 44.6 ± 14.0
Notes: 9
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 11: Primary Effectiveness: All Heart Failure Hospitalizations Through 5-Year Follow-up
0
6
12
18
24
30
36
48
60
450
500
0
MitraClip + GDMT
GDMT alone
Cumulative
HF Hospitalizations (n)
Time After Randomization (Months)
MitraClip
GDMT
302
269
238
219
205
186
151
312
272
224
188
156
133
106
No. at Risk:
42
54
250
300
350
400
50
100
150
200
79
124
84
59
138
167
120
94
HR [95% CI] = 0.51 [0.39, 0.66]
Analyzed using a joint frailty model to account for correlated events and the competing risk of death
Notes: 10
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 12: Primary Effectiveness: All Heart Failure Hospitalizations Through 5-Year Follow-up
33.1%/yr in the device group vs.
57.2%/yr in the control group
HR [95% CI] = 0.53 [0.41-0.68]
0
6
12
18
24
30
36
48
60
450
500
0
MitraClip + GDMT
GDMT alone
314
in 151 pts
447
in 208 pts
Cumulative
HF Hospitalizations (n)
Time After Randomization (Months)
MitraClip
GDMT
302
269
238
219
205
186
151
312
272
224
188
156
133
106
No. at Risk:
42
54
250
300
350
400
50
100
150
200
79
124
84
59
138
167
120
94
Analyzed using a joint frailty model to account for correlated events and the competing risk of death
Notes: 11
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 13: Primary Safety: Outcomes Through 5 Years
MitraClip implant attempts (n=293) | 30 Days | 12 Months | 24 Months | 36 Months | 48 Months | 60 Months
All safety events | 4 (1.4) | 9 (3.3) |  |  |  | 
Device-specific events | 4 (1.4) | 4 (1.4) |  |  |  | 
- SLDA | 2 (0.7) | 2 (0.7) |  |  |  | 
- Device embolization | 1 (0.3) | 1 (0.3) |  |  |  | 
- Endocarditis requiring surgery | 0 (0.0) | 0 (0.0) |  |  |  | 
- Mitral stenosis* requiring surgery | 0 (0.0) | 0 (0.0) |  |  |  | 
- Any device-related complication requiring non-elective CV surgery | 1 (0.3) | 1 (0.3) |  |  |  | 
Progressive HF unrelated to device complications | 0 (0.0) | 5 (2.0) |  |  |  | 
- LVAD | 0 (0.0) | 3 (1.2) |  |  |  | 
- Heart transplantation | 0 (0.0) | 2 (0.8) |  |  |  | 
SLDA = single leaflet device attachment. LVAD = left ventricular assist device. *Mitral valve area <1.5 cm2 by echo core laboratory measurement.
Primary safety endpoint
Notes: 12
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 14: Primary Safety: Outcomes Through 5 Years
MitraClip implant attempts (n=293) | 30 Days | 12 Months | 24 Months | 36 Months | 48 Months | 60 Months
All safety events | 4 (1.4) | 9 (3.3) | 13 (5.2) | 20 (8.8) | 22 (10.1) | 23 (10.8)
Device-specific events | 4 (1.4) | 4 (1.4) | 4 (1.4) | 4 (1.4) | 4 (1.4) | 4 (1.4)
- SLDA | 2 (0.7) | 2 (0.7) | 2 (0.7) | 2 (0.7) | 2 (0.7) | 2 (0.7)
- Device embolization | 1 (0.3) | 1 (0.3) | 1 (0.3) | 1 (0.3) | 1 (0.3) | 1 (0.3)
- Endocarditis requiring surgery | 0 (0.0) | 0 (0.0) | 0 (0.0) | 0 (0.0) | 0 (0.0) | 0 (0.0)
- Mitral stenosis* requiring surgery | 0 (0.0) | 0 (0.0) | 0 (0.0) | 0 (0.0) | 0 (0.0) | 0 (0.0)
- Any device-related complication requiring non-elective CV surgery | 1 (0.3) | 1 (0.3) | 1 (0.3) | 1 (0.3) | 1 (0.3) | 1 (0.3)
Progressive HF unrelated to device complications | 0 (0.0) | 5 (2.0) | 9 (3.8) | 16 (7.5) | 18 (8.8) | 19 (9.5)
- LVAD | 0 (0.0) | 3 (1.2) | 6 (2.6) | 11 (5.1) | 12 (5.8) | 13 (6.5)
- Heart transplantation | 0 (0.0) | 2 (0.8) | 3 (1.3) | 7 (3.4) | 9 (4.7) | 9 (4.7)
SLDA = single leaflet device attachment. LVAD = left ventricular assist device. *Mitral valve area <1.5 cm2 by echo core laboratory measurement.
Notes: 13
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 15: Death or HF Hospitalization
Death or HFH (%)
0%
20%
40%
60%
80%
100%
Time After Randomization (Months)
91.5%
73.6%
HR [95% CI] =
0.53 [0.44-0.64]
MitraClip + GDMT
GDMT alone
0
6
12
18
24
30
36
48
60
MitraClip
GDMT
302
236
194
174
158
141
105
312
206
157
122
95
58
37
No. at Risk:
42
54
52
81
26
17
93
118
43
33
Notes: 14
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 16
5-Year
Death
or HFH
Subgroup
analysis

## Slide 17: First Heart Failure Hospitalization
0%
20%
40%
60%
80%
100%
83.0%
61.0%
HR [95% CI] =
0.49 [0.40-0.61]
MitraClip + GDMT
GDMT alone
0
6
12
18
24
30
36
48
60
MitraClip
GDMT
302
236
194
174
158
141
105
312
206
157
122
95
58
37
No. at Risk:
42
54
52
81
26
17
93
118
43
33
Time After Randomization (Months)
First Heart Failure
Hospitalization (%)
Notes: 16
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 18: First Heart Failure Hospitalization
0%
20%
40%
60%
80%
100%
Time After Randomization (Months)
MitraClip + GDMT
GDMT alone
0
6
12
18
24
30
36
48
60
MitraClip
GDMT
302
194
158
312
157
95
No. at Risk:
42
54
63
43
119
167
119
82
30.7%
34.3%
HR [95% CI] =
0.46 [0.36–0.57]
HR [95% CI] =
0.85 [0.55–1.33]
46.8%
76.4%
First Heart Failure
Hospitalization (%)
Notes: 17
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 19: All-cause Mortality
All-cause Mortality (%)
0%
20%
40%
60%
80%
100%
67.2%
57.3%
HR [95% CI] =
0.72 [0.58-0.89]
MitraClip + GDMT
GDMT alone
0
6
12
18
24
30
36
48
60
MitraClip
GDMT
302
269
238
219
205
186
151
312
272
224
189
157
135
107
No. at Risk:
42
54
79
124
84
59
138
167
122
94
Time After Randomization (Months)
Notes: 18
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 20: All-cause Mortality
All-cause Mortality (%)
0%
20%
40%
60%
80%
100%
MitraClip + GDMT
GDMT alone
0
6
12
18
24
30
36
48
60
MitraClip
GDMT
302
238
205
312
224
157
No. at Risk:
42
54
79
59
138
167
122
94
Time After Randomization (Months)
40.6%
42.8%
HR [95% CI] =
0.62 [0.47–0.82]
28.1%
42.7%
HR [95% CI] =
0.88 [0.64–1.23]
Notes: 19
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 21
Randomized to GDMT alone
(N = 312)
No MitraClip treatment before 2 years
(N = 138)
MitraClip treatment before 2 years
(N = 5)
MitraClip treatment after 2 years*
(N = 62 of 138; 44.9%)
Total crossovers
(N = 67 of 312; 21.5%)
No MitraClip treatment
(N = 76)
Not eligible for
crossover at
2 years (N = 169)
Death:
LVAD:
Transplant: Withdrawals:
Lost to follow-up:
Other:
124
16
9 26
3
2
Crossover Treatment in the Control Arm

## Slide 22: Death or HFH After Crossovers
Death or HFH (%)
0%
20%
40%
60%
80%
100%
Time After Randomization (Months)
0
6
12
18
24
30
36
48
60
42
54
MitraClip + GDMT
GDMT alone without MitraClip
No. at Risk:
MitraClip
302
236
194
158
52
93
118
GDMT without MitraClip
312
205
156
93
16
40
32
GDMT alone after MitraClip
GDMT after MitraClip
67
56
42
30
-
9
-
For crossover patients, follow-up duration is from the crossover procedure date
Multivariable analysis in GDMT alone group
Adjusted HR [95% CI] after MitraClip
= 0.53 [0.36, 0.78]
Notes: 21
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 23
Chart: NYHA Class Throughout Follow-up
| Device (n=302) | Control (n=311) | Device (n=291) | Control (n=288) | Device (n=286) | Control (n=278) | Device (n=278) | Control (n=266) | Device (n=270) | Control (n=258) | Device (n=260) | Control (n=263) | Device (n=263) | Control (n=255) | Device (n=266) | Control (n=247) | Device (n=257) | Control (n=249)
I | 0.3 | 0 | 15.1 | 4.9 | 17.8 | 5 | 14.4 | 6.8 | 11.9 | 7 | 12.3 | 4.6 | 9.5 | 6.3 | 7.9 | 4 | 6.6 | 4.8
II | 42.7 | 35.4 | 59.1 | 41.7 | 48.6 | 42.1 | 47.1 | 36.5 | 44.8 | 32.6 | 35 | 26.2 | 32.7 | 18.8 | 26.3 | 14.6 | 17.5 | 10.8
III | 51 | 54 | 18.9 | 40.6 | 19.6 | 36 | 15.1 | 24.4 | 15.2 | 17.8 | 17.7 | 20.9 | 11.8 | 12.5 | 10.9 | 10.1 | 10.9 | 10.4
IV | 6 | 10.6 | 3.4 | 9.4 | 2.4 | 2.5 | 2.2 | 4.1 | 1.5 | 3.9 | 3.8 | 3 | 1.5 | 2.4 | 1.9 | 2 | 1.6 | 0
Died | 0 | 0 | 3.4 | 3.5 | 11.5 | 14.4 | 21.2 | 28.2 | 26.7 | 38.8 | 31.2 | 45.2 | 44.5 | 60 | 53 | 69.2 | 63.4 | 73.9
30 days
Baseline
18 months
1 year
2 years
3 years
4 years
5 years
6 months
Class I or II | 43.0% | 35.4% | 74.2% | 46.5% | 66.4% | 47.1% | 61.5% | 43.2% | 56.7% | 39.5% | 47.3% | 37.8% | 42.2% | 25.1% | 34.2% | 18.6% | 24.1% | 15.7%
Diff (95% CI) | 7.7% [-0.1, 15.3] |  | 27.7% [19.9, 35.1] |  | 19.3% [11.2, 27.1] |  | 18.3% [9.9, 26.3] |  | 17.1% [8.6, 25.3] |  | 16.5% [8.2, 24.5] |  | 17.1% [9.0, 24.9] |  | 15.6% [8.0, 22.9] |  | 8.5% [1.5, 15.3] | 
NYHA class (%)

## Slide 24
Chart: MR Severity (Core Lab)
| Device (n=302) | Control (n=311) | Device (n=273) | Control (n=257) | Device (n=240) | Control (n=218) | Device (n=210) | Control (n=175) | Device (n=177) | Control (n=141) | Device (n=167) | Control (n=126) | Device (n=120) | Control (n=74) | Device (n=80) | Control (n=49) | Device (n=57) | Control (n=46)
None | 0 | 0 | 0.7 | 0.8 | 0.4 | 0.5 | 0.5 | 1.1 | 0.6 | 0.7 | 1.2 | 1.6 | 4.2 | 2.7 | 10 | 2 | 22.8 | 6.5
1+ | 0 | 0 | 72.2 | 7.4 | 66.3 | 8.7 | 68.6 | 10.3 | 75.7 | 15.6 | 77.2 | 16.7 | 79.2 | 62.2 | 70 | 59.2 | 66.7 | 71.7
2+ | 0 | 0 | 19.8 | 26.1 | 27.1 | 28.9 | 25.7 | 35.4 | 18.6 | 29.1 | 21 | 28.6 | 15 | 20.3 | 17.5 | 18.4 | 5.3 | 13
3+ | 49 | 55.3 | 5.9 | 37.4 | 4.6 | 42.2 | 4.3 | 34.3 | 4.5 | 30.9 | 0 | 34.1 | 1.7 | 10.8 | 2.5 | 12.2 | 5.3 | 4.3
4+ | 51 | 44.7 | 1.5 | 28.4 | 1.7 | 19.7 | 1 | 18.9 | 0.6 | 15.6 | 0.6 | 19 | 0 | 4.1 | 0 | 8.2 | 0 | 4.3
30 days
Baseline
18 months
1 year
2 years
3 years
4 years
5 years
6 months
MR ≤2+ | 0% | 0% | 92.7% | 34.2% | 93.8% | 38.1% | 94.8% | 46.9% | 94.9% | 45.4% | 99.4% | 46.8% | 98.3% | 85.1% | 97.5% | 79.6% | 94.7% | 91.3%
Diff (95% CI) | - |  | 58.4% [51.4, 64.5] |  | 55.7% [48.1, 62.3] |  | 47.9% [39.6, 55.5] |  | 49.5% [40.2, 57.9] |  | 52.6% [43.5, 61.1] |  | 13.2% [5.9, 23.1] |  | 17.9% [7.1, 31.3] |  | 3.4% [-7.1, 15.6] | 
MR grade (%)

## Slide 25: Limitations
Device treatment was unblinded, and withdrawals during follow-up were more frequent in the control group.
  All-cause death, the endpoint least prone to bias, was reduced, and the results were consistent after multiple imputation to account for missing data.
The present results reflect treatment with the first generation MitraClip.
  MitraClip NTR/XTR and G4 may be more effective at reducing MR to ≤1+, and outcomes with other mitral TEER and non-TEER systems are unknown.
Angiotensin receptor-neprilysin inhibitors were used in < one-third of pts, and only 3 pts were treated with SGLT2 inhibitors (all during the last year of FU).
  More frequent use of these agents may have decreased the pool of pts eligible for enrollment but would likely not have decreased the effects of TEER.
Whether correction of MR would safely improve outcomes in more or less critically ill pts or in those with moderate MR is unknown.

## Slide 26: Conclusions and Implications (1)
In pts with heart failure and severe secondary MR who remained symptomatic despite optimal medical therapy, TEER with the MitraClip was safe, reduced the rate of HFHs and improved survival during 5-year follow-up.
These outcomes were consistent across all pre-specified subgroups, regardless of patient age, sex, MR severity, left ventricular function and volume, cardiomyopathy etiology, and surgical risk.
Symptomatic status (NYHA class) was also improved throughout 5-year follow-up, and MitraClip treatment provided durable repair of mitral regurgitation.

## Slide 27: Conclusions and Implications (2)
Treatment effects were reduced after 2-3 years, in large part due to MitraClip treatment in 44.9% of control group pts surviving to 2 years.
The prognosis of control group pts so treated was substantially improved, similar to that of pts originally assigned to MitraClip treatment.
However, nearly half of control group pts had died before becoming eligible for crossover at 2 years.
Heart failure patients appropriate for TEER with the MitraClip should therefore be identified and considered for treatment as early as possible.

## Slide 28: Conclusions and Implications (3)
Finally, despite the favorable risk:benefit profile of the MitraClip in this setting, adverse outcomes continued to accrue in both groups such that 91.5% of control group pts and 73.6% of device group pts had either died or been hospitalized for heart failure within 5 years.
These findings emphasize the need for further therapies to address the underlying left ventricular dysfunction in this high-risk population.

## Slide 30: Back-up Slides

## Slide 31: Central Eligibility Committee Review
Potentially eligible patients with echo core lab confirmed 3+/4+ secondary MR were presented by the local site investigators to a Central Eligibility Committee consisting of heart failure specialists, cardiologists and expert mitral valve surgeons
The CEC confirmed that all eligibility criteria were met, especially the use of maximally-tolerated GDMT for heart failure
Patients not on max GDMT could be re-presented after suitable GDMT had been instituted if the patient remained symptomatic and repeat echo still showed 3+/4+ MR
Notes: 30
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 32: Baseline and Follow-up Testing
Clinical: Bl, 1 wk1, 1 mo, 6 mo, 12 mo, 18 mo, 2 yrs, 3 yrs, 4 yrs, 5 yrs
Labs2: Bl, d/c1, 1 mo, 6 mo, 12 mo, 18 mo, 2 yrs
TEE: Bl
TTE: Bl, d/c*, 1 mo, 6 mo, 12 mo, 18 mo, 2 yrs, 3 yrs, 4 yrs, 5 yrs
NYHA: Bl, 1 mo, 6 mo, 12 mo, 18 mo, 2 yrs, 3 yrs, 4 yrs, 5 yrs
QOL (KCCQ and SF-36)3: Bl, 6 mo, 12 mo, 2 yrs
6MWT: Bl, 6 mo, 12 mo, 2 yrs
1Device group; 2Includes BNP or NT-proBNP. Bl = baseline; d/c = discharge
Notes: 31
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 33: Primary Endpoints
*Analyzed when the last subject completes 12 months of follow-up
Primary effectiveness endpoint:
All HFHs through 24 months*
Powered for superiority of the Device group compared with the Control group
Primary safety endpoint:
Freedom from device-related complications at 12 months :
Single leaflet device attachment, device embolization, endocarditis requiring surgery, echo core laboratory confirmed severe mitral stenosis (valve area <1.5 cm2) requiring surgery, LVAD or heart transplant, or any device-related complication requiring non-elective cardiovascular surgery
Powered for superiority of the Device group vs. a pre-specified OPG
Notes: 32
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 34: Study Flow and Follow-up
1576 pts with HF and MR considered for enrollment between September 25th, 2012 and June 23th, 2017 at 89 centers in the US and Canada
MitraClip + GDMT
N=302
GDMT alone
N=312
Reasons for exclusion
Inadequate MR or DMR (n=244)
Not treated with GDMT (n=79)
All inclusion criteria not met (n=85)
Exclusion criteria present (n=34)
Echo criteria not met (n=255)
Incomplete screening
or other (n=419)
Randomized
N=614 at 78 sites
Ineligible
N=911
Roll-in cases
N=51 at 34 sites
Eligible for enrollment
N=665
Notes: 33
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 35: MitraClip Procedure (n=302)
MitraClip procedure attempted | 293/302 (97.0%)
Clip implanted (MitraClip procedure attempted) | 287/293 (98.0%)
Clip implanted (all patients) | 287/302 (95.0%)
Mean # of clips implanted | 1.7  0.7 (n=293)
- 0 clips implanted | 6 (2.0%)
- 1 clip implanted | 106 (36.2%)
- 2 clips implanted | 157 (53.6%)
- 3 clips implanted | 23 (7.9%)
- 4 clips implanted | 1 (0.3%)
Procedure duration (mins) | 162.9  118.1
- Device procedure time (mins) | 118.9  63.5
- Device time (mins) | 82.7  80.8
- Fluoroscopy time (mins) | 33.9  23.2
TTE at discharge
(n=260)
Chart: MR grade
≤1+ | 82.3
2+ | 12.7
3+ | 3.5
4+ | 1.5
Notes: 34
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 36: Medication Use at Baseline
 | MitraClip + GDMT (n=302) | GDMT alone (n=312)
Beta-blocker | 91.1% | 89.7%
ACEI, ARB or ARNI | 71.5% | 62.8%
Mineralocorticoid receptor antagonist | 50.7% | 50.0%
Nitrates | 6.3% | 8.0%
Hydralazine | 16.9% | 17.6%
Diuretic | 89.4% | 89.1%
Chronic oral anticoagulant | 46.4% | 40.1%
Aspirin | 58.3% | 65.1%
P2Y12 receptor inhibitor | 25.2% | 22.8%
Statin | 62.9% | 60.6%
Notes: 35
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 37: Major Changes in HF Meds w/i 5 Years
 | MitraClip + GDMT (n=302) | GDMT alone (n=312) | Difference [95% CI]
ACEI, ARB or ARNI |  |  | 
- ⇓ dose by >50% or discontinue | 15.2% | 6.7% | 8.5% [3.6, 13.5]
- ⇑ dose by >100% or new drug started | 15.9% | 12.8% | 3.1% [-2.5, 8.7]
Beta-blocker |  |  | 
- ⇓ dose by >50% or discontinue | 9.9% | 10.9% | -1.0% [-5.9, 4.0]
- ⇑ dose by >100% or new drug started | 11.6% | 8.7% | 2.9% [-1.9, 7.8]
Mineralocorticoid receptor antagonist |  |  | 
- ⇓ dose by >50% or discontinue | 1.3% | 1.6% | -0.3% [-2.5, 2.0]
- ⇑ dose by >100% or new drug started | 10.9% | 5.1% | 5.8% [1.5, 10.3]
Nitrates |  |  | 
- ⇓ dose by >50% or discontinue | 0.0% | 0.1% | -0.3% [-1.8, 1.0]
- ⇑ dose by >100% or new drug started | 3.0% | 4.8% | -1.8% [-5.1, 1.4]
Hydralazine |  |  | 
- ⇓ dose by >50% or discontinue | 2.6% | 1.0% | 1.7% [-0.6, 4.3]
- ⇑ dose by >100% or new drug started | 7.3% | 8.7% | -1.4% [-5.8, 3.0]
Notes: 36
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 38: Average HF Med Doses During 5-Year Follow-up
 | MitraClip + GDMT (n=302) | GDMT alone (n=312) | Difference [95% CI]
ACEI, ARB or ARNI, mg | N=237 12.1 ± 10.1 9.6 (5.0, 15.0) | N=217 11.3 ± 9.6 7.6 (5.0, 13.3) | 0.8 [-1.0, 2.6]
- Mean |  |  | 
- Median |  |  | 
Beta-blocker, mg | N=289 30.6 ± 24.2 25.0 (12.5, 47.3) | N=291 27.7 ± 23.7 21.2 (10.9, 44.4) | 2.9 [-1.0, 6.8]
- Mean |  |  | 
- Median |  |  | 
MRA, mg | N=185 24.3 ± 11.8 25.0 (13.8, 25.0) | N=172 29.0 ± 31.1 25.0 (22.0, 25.0) | -4.7 [-9.7, 0.3]
- Mean |  |  | 
- Median |  |  | 
Nitrates, mg | N=31 52.4 ± 40.4 40.0 (20.0, 85.9) | N=44 44.3 ± 32.3 39.7 (21.3, 60.0) | 8.1 [-9.4, 25.6]
- Mean |  |  | 
- Median |  |  | 
Hydralazine, mg | N=65 130.8 ± 93.3 118.1 (53.5, 186.5) | N=84 100.1 ± 84.5 74.0 (30.1, 150.0) | 30.8 [1.5, 60.0]
- Mean |  |  | 
- Median |  |  | 
Notes: 37
Equivalent drugs for each class and its maximum total daily dose include enalapril 40 mg for ACE inhibitors and ARBs, spironolactone 50 mg for aldosterone inhibitors, and carvedilol 100 mg for beta blockers. For ARNIs the equivalent dose of valsartan was used in the analysis. Original dosages of vasodilators (nitrates and hydralazine) were used. Drug equivalent dose is calculated by (daily dose / maximum total daily dose) * equivalent drug maximum total daily dose for each class. The average total daily equivalent dosage during the period were calculated as the sum of the drug equivalent dose used during the period divided by days on drug for individual subjects. Methodology modified from World Health Organization Collaborating Centre for Drug Statistics Methodology. Available from: http://www.whocc.no/atc_ddd_publications/atc_ddd_index/).

## Slide 39: Effectiveness Outcomes Through 5 Years (ii)
 | MitraClip + GDMT (n=302) | GDMT alone (n=312) | Difference [95% CI]
Death, all-cause | 162 (57.3) | 189 (67.2) | 0.72 (0.58-0.89)
- Cardiovascular | 128 (49.0) | 151 (58.4) | 0.71 (0.56-0.90)
- Heart failure-related | 68 (30.9) | 96 (43.2) | 0.59 (0.43-0.80)
- Non-heart failure-related | 60 (26.2) | 55 (26.7) | 0.93 (0.64-1.34)
- Non-cardiovascular | 34 (16.3) | 38 (21.4) | 0.75 (0.47-1.19)
Hospitalization, all-cause | 251 (88.3) | 270 (94.9) | 0.75 (0.63-0.89)
- Cardiovascular | 203 (77.0) | 236 (89.2) | 0.64 (0.53-0.77)
- Heart failure-related | 151 (61.0) | 208 (83.0) | 0.49 (0.40-0.61)
- Non-heart failure-related | 116 (51.0) | 106 (52.1) | 0.98 (0.75-1.27)
- Non-cardiovascular | 168 (66.6) | 166 (70.5) | 0.89 (0.72-1.11)
Death or heart failure hospitalization | 213 (73.6) | 266 (91.5) | 0.53 (0.44-0.64)
CV death or heart failure hospitalization | 193 (70.2) | 246 (88.7) | 0.53 (0.44-0.64)
Stroke | 24 (12.0) | 18 (8.7) | 1.14 (0.62-2.11)
Notes: 38
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 40: Effectiveness Outcomes Through 5 Years (ii)
 | MitraClip + GDMT (n=302) | GDMT alone (n=312) | Difference [95% CI]
LVAD implant or heart transplant | 19 (9.5) ‡ | 27 (12.4) ‡ | 0.59 (0.33-1.07)
- LVAD implant | 13 (6.5) | 19 (8.5) | 0.58 (0.29-1.18)
- Heart transplant | 9 (4.7) | 12 (6.5) | 0.62 (0.26-1.48)
Mitral valve intervention or surgery* | 11 (4.5) | 75 (52.0) | 0.09 (0.05-0.17)
- Transcatheter edge-to-edge repair | 10 (4.2) | 67 (48.7) | 0.09 (0.05-0.18)
- Mitral valve surgery | 1 (0.4) | 9 (4.3) | 0.10 (0.01-0.82)
- Mitral valve replacement | 1 (0.4) | 5 (1.7) | 0.20 (0.02-1.75)
New CRT implant | 8 (3.2) | 11 (6.3) | 0.66 (0.26-1.64)
New pacemaker | 10 (5.0) | 10 (5.5) | 0.84 (0.35-2.02)
Myocardial infarction | 22 (10.1) | 26 (14.4) | 0.72 (0.41-1.28)
PCI or CABG | 17 (8.9) | 13 (6.1) | 1.12 (0.54-2.31)
- PCI | 17 (8.9) | 11 (5.4) | 1.31 (0.61-2.81)
- CABG | 0 (0.0) | 2 (0.7) | -
New onset permanent atrial fibrillation | 23 (9.3) | 23 (12.6) | 0.91 (0.51-1.62)
Notes: 39
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 41: Days Hospitalized and Alive and Out-of-Hospital
Through 5-year follow-up | MitraClip + GDMT (n=302) | GDMT alone (n=312) | Difference [95% CI]
Days alive and out-of-hospital |  |  | 
- Mean | 1123.5 ± 664.8 | 894.8 ± 655.1 | 228.7 [124.1, 333.3]
- Median | 1225 (445, 1798) | 717.5 (289, 1734) | 
Number of days hospitalized* |  |  | 
- Mean | 24.7 ± 32.7 | 22.3 ± 24.3 | 2.5 [-2.5, 7.5]
- Median | 13 (6, 30) | 15 (7, 28) | 
Proportion of time alive in hospital |  |  | 
- Mean | 0.05 ± 0.10 | 0.05 ± 0.08 | 0.00 [-0.01, 0.02]
- Median | 0.02 (0.00, 0.04) | 0.02 (0.00, 0.05) | 
Surviving pts living in their baseline location |  |  | 
- At 1 year | 217/224 (96.9) | 198/206 (96.1) | 0.8 [-3.0%, 4.7%]
- At 2 years | 98/107 (91.6) | 72/78 (92.3) | -0.7 [-8.7%, 8.3%]
- At 3 years | 150/154 (97.4) | 108/113 (95.6) | 1.8 [-2.8%, 7.6%]
- At 4 years | 129/132 (97.7) | 86/89 (96.6) | 1.1 [-3.7%, 7.4%]
- At 5 years | 98/107 (91.6) | 72/78 (92.3) | -0.7 [-8.7%, 8.3%]
Notes: 40
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 42: HF Hospitalizations After Crossovers
HF Hospitalization (%)
0%
20%
40%
60%
80%
100%
Time After Randomization (Months)
0
6
12
18
24
30
36
48
60
42
54
MitraClip + GDMT
GDMT alone without MitraClip
GDMT alone after MitraClip
No. at Risk:
MitraClip
302
236
194
158
52
93
118
GDMT without MitraClip
312
205
156
93
16
40
32
GDMT after MitraClip
67
56
42
30
-
9
-
For crossover patients, follow-up duration is from the crossover procedure date
Notes: 41
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)

## Slide 43: All-Cause Mortality After Crossovers
Death (%)
0%
20%
40%
60%
80%
100%
Time After Randomization (Months)
0
6
12
18
24
30
36
48
60
42
54
MitraClip + GDMT
GDMT alone without MitraClip
GDMT alone after MitraClip
No. at Risk:
MitraClip
302
269
238
205
79
138
167
GDMT without MitraClip
312
271
223
145
28
69
52
GDMT after MitraClip
67
62
52
39
-
13
-
For crossover patients, follow-up duration is from the crossover procedure date
Notes: 42
This is the Bulleted List slide.
To create this particular slide, click the NEW SLIDE button on your toolbar and choose the BULLETED LIST format. (Top row, second from left)
The Sub-Heading and footnote will not appear when you insert a new slide. If you need either one, copy and paste it from the sample slide.
If you choose not to use a Sub-Heading, let us know when you hand in your presentation for clean-up and we’ll adjust where the bullets begin on your master page.
Also, be sure to insert the presentation title onto the BULLETED LIST MASTER as follows:
Choose View / Master / Slide Master from your menu.
Select the text at the bottom of the slide and type in a short version of your presentation title.
Click the SLIDE VIEW button in the lower left hand part of your screen to return to the slide show. (Small white rectangle)