## Slide 1: One-Year Outcomes after Amulet or Watchman/FLX Device for Percutaneous Left Atrial Appendage Closure: Pre-Specified Analyses of the SWISS-APERO Randomized Clinical Trial
Roberto Galea, MD
Department of Cardiology, Bern University Hospital, Bern, Switzerland
on behalf of the SWISSAPERO Trial Investigators
roberto.galea@insel.ch
@robertogalea7

## Slide 2
I, Roberto Galea, DO NOT have any relevant financial relationships to disclose.
Acknowledgements
Images of Amplatzer Amulet device are reproduced with permission of Abbott, © 2021. All rights reserved. Images of Watchman FLX have been provided courtesy of Boston Scientific, ©2021 Boston Scientific Corporation or its affiliates. All rights reserved.
Disclosure of Relevant Financial Relationships

## Slide 3: Background and objectives
Residual LAA patency after LAAC has been associated with higher thromboembolic risk, especially when detected remotely after the procedure.
Watchman FLX and Amulet devices are the two most frequently used devices for LAAC worldwide and SwissApero Trial is the first randomized comparison between them. The main findings of the study showed a similar LAA sealing performance of the two devices at 45-day CCTA.
In these pre-specified subanalyses of SwissApero Trial, we compared Watchman FLX and Amulet in terms of LAA patency and DRT at 13-month CCTA, besides clinical outcomes through 13 months.

## Slide 4: SWISS-APERO Trial Design
LAAC clinically indicated
Eligibility
High bleeding risk
LAA morhology suitable for both devices
No LAA thrombus
LAAC
DEVICE RANDOMIZATION
Amulet
Watchman
FLX
Mid-term LAA PATENCY
45-DAY fu
O
45 ± 7
(Days after LAAC)
ASA +
Clopidogrel or (N)OAC
Medical and drug history assessment
Laboratory tests
TEE (optional if intraprocedural TEE)
CCTA
Intraprocedural TEE/ICE
Randomization
Medical and drug
history assessment
TEE
CCTA
Screening phase
Long-term LAA PATENCY
13-Month fu
Medical and drug
history assessment
CCTA
395 ± 30
90 ± 7

## Slide 5: SWISS-APERO Trial Design
LAAC clinically indicated
Eligibility
High bleeding risk
LAA morhology suitable for both devices
No LAA thrombus
LAAC
DEVICE RANDOMIZATION
Amulet
Watchman
FLX
O
45 ± 7
(Days after LAAC)
ASA +
Clopidogrel or (N)OAC
Medical and drug history assessment
Laboratory tests
TEE (optional if intraprocedural TEE)
CCTA
Intraprocedural TEE/ICE
Randomization
Medical and drug
history assessment
TEE
CCTA
Screening phase
Long-term LAA PATENCY
13-Month fu
Medical and drug
history assessment
CCTA
395 ± 30
90 ± 7

## Slide 6: Pre-specified Analyses
Primary Analyses
Secondary Analysis
Comparison of two study groups in terms of:
Residual LAA patency and related subtypes at 13-month CCTA
DRT at 13-month CCTA
13-month clinical outcomes
Comparison of 45-day and 13-month CCTAs with the aim of exploring the evolution of LAA patency and related subtypes during the first year after procedure
All cause or cardiovascular death
All stroke, ischemic or haemorrhagic stroke
Systemic or Pulmonary embolism
Bleeding according to the BARC classification
Both imaging and clinical endpoints were centrally adjudicated

## Slide 7: LAA Patency subtypes
LAA PATENCY DEFINITION:
LAA density ≥ 100 HU and/or
LAA density ≥ 25% of that of the LA
C
PATENT LAA (PA)
457 H
457 HU
526 HU
NON PATENT LAA (NPA)
64 HU
421 HU
INCOMPLETE SIDE
SEALING (GAP LEAKS)
Underlying
Leak Mechanisms
DEVICE PERMEABILITY
UNCLEAR
PERIDEVICE
MIXED
INTRADEVICE
PANVL
WATCHMAN
AMULET
115
HU
132 HU

## Slide 8
LAA Closure performed (n = 423)
Considered for 13-month CCTA analysis
(n = 80)
Allocated to
Watchman FLX (n=110)
Randomized (n = 221)
Excluded (n=202)
Enrolled in other cardiovascular device or an investigational drug trial (n=47)
Patient did not provide consent (n=44)
Severe chronic kidney insufficiency (n=40)
Incomplete screening (n=25)
First operator with limited experience with one of the two LAAC devices (n=18)
Intra-cardiac thrombus (n=10)
LAA morphology not suitable for one of the two devices (n=9)
Other eligibility criteria not met (n=9)
Considered for 13-month CCTA analysis
(n = 84)
Allocated to
Amulet (n=111)
From June 2018 until October 2019 only Watchman 2.5 available (n = 25)
Death (n = 12)
13-month CCTA refused (n=11)
13-month CCTA not performed for medical reasons (n=1)
Patient withdrew consent (n = 2)
Patient was lost to follow-up (n = 1)
Death (n = 11)
13-month CCTA refused (n=11)
13-month CCTA not performed for medical reasons (n=6)
Patient withdrew consent (n = 1)
Patient was lost to follow-up (n = 1)

## Slide 9: Baseline characteristics and post-LAAC antithrombotic therapy regimen
Percentage of Subjects
Chart: 
| Amulet | Watchman | Amulet | Watchman | Amulet | Watchman
None | 0 | 0.9 | 4.6 | 5.7 | 27 | 26
SAPT | 20.2 | 21.1 | 43.5 | 37.7 | 66 | 63
DAPT | 71.6 | 70.6 | 45.4 | 51.9 | 2 | 2
OAC | 7.3 | 3.7 | 4.6 | 1.9 | 3 | 6
OAC+APT | 0.9 | 3.7 | 1.9 | 2.8 | 1 | 3
Discharge
45-day
13-month
p=0.499
p=0.650
p=0.720
Mean age: 76.9 years
Male: 70.6%
Prior cerebrovascular event: 39.3%
Mean CHA2DS2-VASc score: 4.3
Mean HASBLED score 3.1
Prior relevant bleeding: 87.8%
Notes: ‹#›

## Slide 10: Patent Appendage rate at 13-month CCTA
 | Amulet N = 84 | Watchman/FLX N = 80 | Amulet vs Watchman/FLX Risk Ratio (95% CI) | P value
PDL or MIL, no. (%) | 24 (28.6%) | 22 (27.5%) | 1.04 (0.64-1.70) | 0.879
IDL, no. (%) | 20 (23.8%) | 14 (17.5%) | 1.36 (0.74-2.51) | 0.319
PANVL, no. (%) | 6 (7.1%) | 10 (12.5%) | 0.57 (0.22-1.50) | 0.248
1.10 (0.81-1.48);
P= 0.537
WATCHMAN FLX
48.8%
(n=39/80)
AMULET
53.6%
(n=45/84)
VS.

## Slide 11: Device Related Thrombus rate at 13-month CCTA
 | Amulet N = 84 | Watchman/FLX N = 80 | Amulet vs Watchman/FLX Risk Ratio (95% CI) | P value
Definite or possible DRT, no. (%) | 2 (2.4%) | 3 (3.8%) | 0.63 (0.11-3.70) | 0.610
0.95 (0.06-14.97);
P= 0.972
WATCHMAN FLX
1.3%
(n=1/80)
AMULET
1.2%
(n=1/84)
VS.

## Slide 12: 13-Month Clinical Follow-up
 | Amulet N = 111 | Watchman/FLX N = 110 | Amulet vs Watchman/FLX Hazard Ratio (95% CI) | P value
Composite of CV death, stroke or systemic embolism, no. (%) | 10 (9.5%) | 11 (10.2%) | 0.91 (0.39-2.14) | 0.829
Death, no. (%) | 13 (11.7%) | 11 (10.1%) | 1.19 (0.53-2.66) | 0.671
Cardiovascular death, no. (%) | 8 (7.7%) | 9 (8.3%) | 0.90 (0.35-2.33) | 0.823
Stroke, no. (%) | 3 (2.7%) | 4 (3.7%) | 0.75 (0.17-3.35) | 0.706
Ischaemic stroke, no. (%) | 3 (2.7%) | 3 (2.9%) | 1.00 (0.20-4.95) | 0.999
Haemorrhagic stroke, no. (%) | 0 (0.0%) | 1 (0.9%) | 0.33 (0.01-8.01) | 0.498
Systemic or Pulmonary embolism, no. (%) | 3 (2.9%) | 1 (0.9%) | 3.00 (0.31-28.88) | 0.341
Systemic embolism, no. (%) | 0 (0.0%) | 1 (0.9%) | 0.33 (0.01-8.01) | 0.498
Pulmonary embolism, no. (%) | 3 (3.0%) | 0 (0.0%) | 6.94 (0.36-132.79) | 0.247
Any bleeding, no. (%) | 45 (40.8%) | 34 (31.4%) | 1.46 (0.93-2.28) | 0.098
Minor bleeding (BARC 1-2), no. (%) | 32 (29.4%) | 26 (24.3%) | 1.31 (0.78-2.20) | 0.302
Major bleeding (BARC 3-5), no. (%) | 18 (16.5%) | 10 (9.3%) | 1.84 (0.85-3.99) | 0.122

## Slide 13: Evolution of Residual LAA Patency During the First 13 Months After LAAC
30.5% of 45-day PA
resolved at 13-months after LAAC
Only 13.2% of appendages
became patent
later than 45 days
PDL/MIL was the PA subtype more frequently persistent
over the 1st year
22.7%
87.5%
56.8%
Side gap-leaks
(PDL/MIL)
IDL
PANVL
Number of patients
13-month
45-day
Number of patients
Persistent
New-Onset
Transient
Persistent
45-day CCTA
13-month CCTA
Non Patent Appendage
Patent Appendage
Chart: 
| Category 1 | Category 2 | Category 3 | Category 4
Series 1
P<0.001
(analysis including 158 of 221 randomized patients where LAA patency was assessable by both 45-day and 13-month CCTA)

## Slide 14: Study Limitations
Open label study: the two devices can be easily distinguished during CCTA assessment
Trial not powered to show differences with regard to clinical endpoints
Minority yet sizable proportion of Watchman/FLX patients received Watchman 2.5
A relevant percentage of randomized patients died before undergoing 13-month CCTA follow-up, due to the high-risk population included in this study

## Slide 15: Conclusions
Among patients undergoing clinically indicated LAAC and in whom LAA anatomy was deemed suitable for both Amulet and Watchman FLX devices:
  Rates of PA, its subtypes and DRT at 13-month CCTA were similar between the randomised device groups
  Rates of clinical outcomes at 13 months did not differ between the study groups.
  Two thirds of 45-day PAs and especially those related to side-gap leaks, persisted at 13 months.