## Slide 1: Aspirin and Hemocompatibility Events with a Left Ventricular Assist Device in Advanced Heart Failure The ARIES-HM3 Clinical Trial
Mandeep R. Mehra, Ivan Netuka, Nir Uriel, Jason N. Katz, Francis D. Pagani, Ulrich P. Jorde, Finn Gustafsson,
Jean M. Connors, Peter Ivak, Jennifer Cowger, John Ransom, Aditya Bansal, Koji Takeda, Richa Agarwal, Mirnela Byku,
Michael M. Givertz, Abbas Bitar, Shelley Hall, Daniel Zimpfer, J David Vega, Manreet K. Kanwar, Omar Saeed,
Daniel J. Goldstein, Rebecca Cogswell, Farooq H. Sheikh, Matthew Danter, Yuriy Pya, Anita Phancao, John Henderson,
Daniel L. Crandall, Kartik Sundareswaran, Edward Soltesz and Jerry D. Estep
On Behalf of the ARIES Investigators

## Slide 2: Disclosures
This presentation will discuss off-label use of the HeartMate 3
The ARIES HM3 Trial (NCT04069156) is funded and sponsored by Abbott, the manufacturer of the HeartMate 3 Left Ventricular Assist System
Dr Mehra reports payments made to his institution from Abbott for consulting, received personal consulting fees from Moderna, Paragonix and Natera.
He is an advisory board member for NuPulseCV, Leviticus, Transmedics and FineHeart.

## Slide 3: HeartMate 3 Left Ventricular Assist Device
The HeartMate 3 LVAD is a centrifugal-flow, fully magnetically levitated blood pump engineered to minimize destruction of red blood cells and thrombosis
Bourque, Cotter, Dague, et al, ASAIO J 2016;62:375-83
Mehra, Naka, Uriel, et al, N Engl J Med. 2017; 376:440-450
Mehra, Goldstein, Uriel, et al. N Engl J Med. 2018;378:1386-1395
Wide blood-flow passages to reduce shear stress
Frictionless with absence of mechanical bearings
Intrinsic Pulse designed to reduce stasis and avert thrombosis

## Slide 4: A New Survival Benchmark with LVAD Therapy
5-year survival of 58.4% with the centrifugal flow HeartMate 3 LVAD in advanced HF patients
Mehra, Goldstein, Cleveland et al, JAMA 2022; 328(12):1233-1242
50%
Notes: Due to the technological advances conferred by the HM3 pump, a new…. Has been established

## Slide 5
HEMOCOMPATIBILITY RELATED OUTCOMES
Opportunity to Reduce Residual Risk
Mehra MR, Crandall DL, Gustafsson F, et al., Eur J Heart Fail. 2021;23(7):1226-1237

## Slide 6
Mehra MR, Crandall DL, Gustafsson F, et al., Eur J Heart Fail. 2021;23(7):1226-1237
Thomas, The Structure of Resting and Activated Platelets. Platelets 4th Ed. 2019, Pages 47-77
Can aspirin be safely excluded from the antithrombotic regimen
(which includes Vitamin-K Antagonists)
in HM3 LVAD Patients?
ACETYLSALICYLIC ACID
THROMBOSIS
ACETYLATION
SALICYLATION
COX-1 INHIBITION
COX-2 INHIBITION
PLATELET INHIBITION
ANTI-INFLAMMATION

## Slide 7
Antithrombotic Regimens
Aspirin (100mg) + Standard VKA (INR 2.0-3.0)
versus
Placebo + Standard VKA (INR 2.0-3.0)
US
Canada
United Kingdom
France
Italy
Austria
Czechia
Kazakhstan
Australia
International, Multicenter, Prospective, Randomized,
Double-blind, Placebo-controlled Study
Global Study of 51 centers in 9 countries
HYPOTHESIS
Exclusion of aspirin from the antithrombotic regimen of HM3 LVAD patients will not adversely affect safety or efficacy of the HM3 and may reduce non-surgical bleeding

## Slide 8: End Points
Primary: Survival free of any non-surgicala major hemocompatibility related adverse eventb at 1-year post implant
The final sample size provided >90% power to assess the primary end point
Non-inferiority met if the lower boundary of the one-sided 97.5% confidence limit was greater than the non-inferiority margin (-10%)
Principal Secondary: All Non-surgical Bleeding
a >14 days post implant. bAny Stroke, Pump Thrombosis, Major Bleeding, and Arterial Peripheral Thromboembolism

## Slide 9: Patient Population
Patient Meets ARIES HM3 Eligibility?
Randomization 1:1
Day 2-7 post implant
Aspirin with VKA (INR 2.0-3.0)
Placebo with VKA (INR 2.0-3.0)
Placebo
N=314
Aspirin
N=314
Surgical Events and Outcomes (n=21)
  Transitioned to open label (n=12)
  Died (n=2)
  Withdrawn (n=7)
Surgical Events and Outcomes (n=18)
  Transitioned to open label (n=8)
  Died (n=1)
  Withdrawn (n=9)
Follow up on Placebo
N=296
Follow up on Aspirin
N=293
Randomized Population
N=628
Primary Analysis Population
N=589
Withdrawn without primary end point event (n=20)
Withdrawn without primary end point event (n=25)
Evaluated for Primary Endpoint
N=271
Evaluated for Primary Endpoint
N=273
Primary Endpoint Set
N=544

## Slide 10: Baseline Characteristics
Characteristic | Placebo (N =296) | Aspirin (N =293)
Age – years, median (range) | 60 (20-79) | 59 (18-80)
Female sex – no. (%) | 72 (24) | 61 (21)
Race (white) – no. (%)* | 179 (60.5) | 181 (61.8)
Ischemic etiology of heart failure – no. (%) | 106 (35.8) | 101 (34.5)
History of atrial fibrillation – no. (%) | 137 (46.3) | 122 (41.6)
History of stroke – no. (%) | 44 (14.9) | 35 (11.9)
History of prior bleeding – no. (%) | 17 (5.7) | 12 (4.1)
History of diabetes mellitus – no. (%)† | 134 (45.3) | 106 (36.2)
Destination therapy goal of pump support – no. (%) | 180 (60.8) | 174(59.4)
INTERMACS profile – no. (%) |  | 
1 | 12 (4.1) | 18 (6.1)
2 | 76 (25.7) | 75 (25.6)
3 | 133 (44.9) | 133 (45.4)
4-7 | 75 (25.3) | 67 (22.7)
Enrolled in North America – no. (%) | 251 (85) | 248 (85)
Notes: Simplify into non colored table. Make black and white table with row delineations

## Slide 11: Primary End Point Analysis
0
6
12
18
24
0
10
20
30
40
50
Months After Implant
P
r
o
b
a
b
i
l
i
t
y
o
f
D
e
a
t
h
o
r
N
o
n
-
s
u
r
g
i
c
a
l
M
a
j
o
r
H
e
m
o
c
o
m
p
a
t
i
b
i
l
i
t
y
R
e
l
a
t
e
d
A
d
v
e
r
s
e
E
v
e
n
t
,
%
Aspirin
Placebo
No. at Risk:
Placebo
Aspirin
296
293
221
205
161
146
84
72
44
33
 | Placebo | Aspirin | Difference (Lower 97.5% CI)* | P-value*
Non-Inferiority Primary End Point Analysis | 74.2 (201/271) | 68.1 (186/273) | 6.0% (-1.6%) | <.001
All sensitivity analyses concur with the primary analysis, including randomized population, worst case allocation of withdrawals, and impact of transition to open label
Hazard Ratio at 2 y, 0.73 (95% CI, 0.55 - 0.97) P=0.03
Time-to-First Event
Notes: Increase font in table. Increase table size. Fix numbers in the graph. Fix pixelation. Remove arrow. Label NIM. Change font of the axis titles in KM Curve (and follow through to other KMs)

## Slide 12: Principal Secondary Endpoint
0
6
12
18
24
0
10
20
30
40
50
Months After Implant
R
a
t
e
o
f
N
o
n
-
s
u
r
g
i
c
a
l
B
l
e
e
d
i
n
g
E
v
e
n
t
s
,
%
No. at Risk:
Placebo
Aspirin
296
293
222
207
163
148
85
73
44
34
29.7
42.4
Aspirin
Placebo
Hazard Ratio at 2 y, 0.67 [95% CI, 0.50 - 0.92] P=0.01
23.1
30.0
Rate of Non-surgical Bleeding Events
Notes: Add blood transfusion man

## Slide 13: Secondary Endpoints – Total Events
For every 100 patients implanted with the study LVAD,
aspirin exclusion prevents
14.5 major bleeding events in the first year

## Slide 14: Safety Endpoints
There was no difference in mortality between Placebo and Aspirin.
HR [95% CI]: 0.90 [0.50 - 1.62] P=0.71
 | Placebo | Aspirin
12-month Mortality | 4.3% | 7.2%
24-month Mortality | 12.3% | 9.1%
Mortality

## Slide 15: Efficacy of Antithrombotic Therapy
Time in therapeutic range was not different between the two groups
 | Placebo | Aspirin | P-Value
INR Median (IQR) | 55.1% (39.5-73.9) | 58.9% (39.5-69.0) | 0.93
Notes: Move to earlier change TTR to text and don’t use butterfly plot. Everywhere should say exclusion.

## Slide 16: Important Patient Subgroups

## Slide 17: Important Patient Subgroups

## Slide 18: Hospitalizations and Cost Savings* *US population only, US payer perspective only
Chart: Impact of Aspirin Avoidance on Days Hospitalized due to Bleeding Events
| Placebo (n=244) | Aspirin (n=247)
 | 331 | 624
Chart: Impact of Aspirin Avoidance on Cost of Bleeding Hospitalizations
| Placebo (n=244) | Aspirin (n=247)
 | 546947 | 927040
47%
41%

## Slide 19: Conclusions
In patients with advanced heart failure receiving support from a fully magnetically levitated LVAD, aspirin is not required as part of an antithrombotic regimen that includes a Vitamin K Antagonist to preserve outcomes
Exclusion of aspirin is associated with a significant decrease in bleeding events with no increase in risk of thrombo-embolic events
Benefits of aspirin avoidance are associated with a decrease in hospitalization rates and cost of care due to bleeding complications.

## Slide 20: We THANK all the patients, our investigators, clinical nurse coordinators, and allied health personnel for their dedication to the conduct of the ARIES HM3 Study
Study Steering Committee
Mandeep R. Mehra, MBBS, MSc (Chair)
Ivan Netuka, MD, PhD
Nir Uriel, MD, MSc
Jason N. Katz, MD, MS
Francis D. Pagani, MD, PhD
Ulrich P. Jorde, MD
Finn Gustafsson, MD, PhD, DMSci
Jean M. Connors, MD
Data Safety Monitoring Board
William Holman, MD (Chair)
Kenneth Bauer, MD
Stuart Russell, MD
Daniel Heitjan, PhD
Clinical Events Committee
Joseph Cleveland, MD (Chair)
Joshua Willey, MD, MS
Gregory Egnaczyk, MD, PhD
Erin Coglianese, MD

## Slide 21
Published online November 11, 2023
American Heart Association Scientific Sessions 2023