## Slide 1
Clinical Benefit of Personalized Electrical Resynchronization in Cardiac Resynchronization Therapy using Automatic Dynamic AV Optimization:
The SyncAV Trial
Niraj Varma, MD, PhD1, Lluis Mont, MD, PhD2, Balbir Singh, MD3, Brian Wisnoskey, PhD4, Bernard Thibault, MD5, Kartikeya Bhargava, MD6, Grant Kim, MS4 Pedro Marques, MD7, Joaquin Fernandez de la Concha, MD8, Erich Kiehl, MD9, Andrea Grammatico, PhD4, Kwangdeok Lee, PhD4, Wojciech Zareba, MD, PhD10 on behalf of the SyncAV Investigators ​
​
1Cleveland Clinic, Cleveland, OH, USA, 2University of Barcelona, Barcelona, Spain, 3Max Super Specialty Hospital, New Delhi, India, 4Abbott, Sylmar, CA, USA, 5Institut de Cardiologie de Montreal, Montreal, Quebec, Canada, 6Medanta Hospitals, Haryana, India, 7Hospital de Santa Maria, Lisboa, Portugal, 8Hospital Universitario de Badajoz, Badajoz, Spain, 9Sentara Norfolk General Hospital, Norfolk, VA, USA, 10University of Rochester Medical Center, Rochester, NY, USA​

## Slide 2
Presenter (NV) Disclosures
Abbott, Impulse Dynamics, EBR, Anumana, Octagos, Murj
      Research grants/ Honoraria/Speaking/Consulting
      Membership on Advisory Committees and/or Review Panels
  The SyncAV trial was funded by Abbott

## Slide 3
Improves outcomes in patients with LBBB and LVEF ≤ 35%
30% individuals may not benefit (“non-responders”) - multifactorial (Varma ADVANCE CRT JACC 2019)
Among electrical factors:
    Baseline QRS morphology (nLBBB), duration (QRSd < 150 ms)
    ? Longer PR interval (Friedman Circ 2016; Rattanawong 2018)
    ? Paced QRS duration (shortening), morphology (intrinsicoid in V1, V2 )
     Fixed settings are programmed irrespective of electrical result
What is lacking is:
Electrocardiographic metric(s) for Resynchronization / Incomplete electrical resynchronization (IeR)
CRT guided by paced effects
Automatic algorithm permitting individualized programming of electrical paced effect
Cardiac Resynchronization Therapy (CRT)

## Slide 4
*
Varma, Wisnoskey JAHA 2019; Wisnoskey, Varma. Europace. 2024
LBBB
CRT
Dynamic AV
Fixed AV (110 ms)
“Fused” AV
Fixed AV (110 ms)
Loses triple fusion when PR ≥183 ms
“Fused” AV
Biventricular Fusion Pacing

## Slide 5
*
Paced AV/PR (pAV/PR)
- Determines contribution of intrinsic RBB activation and thereby global QRSd abbreviation
- pAV/PR ≥ 60%  Ventricular fusion pacing (“triple fusion”)
- Needs patient individualization, and accommodation of naturally varying AV intervals
Intrinsic PR Interval is paramount to QRS optimization
Chart: % change vs intrinsic
| "Fixed" AVD pAVD/PR:< 59.9% | "Fused" AVD pAVD/PR: 60-79.9%
paced QRS duration | -0.12503 | -0.20021
rS in V1/V2 | 0.33092 | -0.050055
pAV/PR < 60% ≥ 60%
Biventricular Fusion Pacing
Triple Fusion
IeR
CRT
rS in V1/V2
Paced QRSd
Varma, Wisnoskey JAHA 2019; Wisnoskey, Varma. Europace. 2024

## Slide 6
SyncAV Trial
Hypothesis Maximized QRSd reduction (maintaining pAV/PR ≥ 60%) improves CRT outcomes in patients with LBBB and HF despite GDMT
Tested with SyncAV, an automatic closed-loop, device-based algorithm designed to deliver consistent ventricular fusion pacing with a dynamic programmable AV delay (pAV/PR)
Methods Investigator-initiated global, prospective, single-blind, parallel, multicenter trial randomizing pts with LBBB (ESC criteria), LVEF ≤ 35%, QRSd ≥ 120 ms, PR ≤ 280 ms, w/o AF to SyncAV vs FIXED AV (standard of care)
Primary Endpoint | ΔLVESV (mL) from baseline to 12 months, as a continous variable (powered)
Secondary Endpoint | Proportion of patients with LVESV  ≥ 15% at 12 months vs baseline (powered)
Other secondary/ descriptive endpoints | DQRSd post-CRT Incidence of incomplete electrical resynchronization (IeR = pAV/PR < 60%) and Outcomes: All-cause mortality, HF hospitalizations, AF burden (> 10 days), LVESV  >15%

## Slide 7
1686 enrolled
1288 randomized
SyncAV
(Operator optimized)
N= 646
570
167 had non-analyzable baseline echo
62 unsuccessful implant
52 withdrawn by physician/site
30 were not implanted
23 withdrew consent
16 did not meet eligibility criteria
24 lost to follow-up or non-compliant
7 died
17 other reasons
Fixed AV delay
(110 ms)
N= 642
577
439
426
60 exited study early
16 Died
59 missing/non-analyzable LVESV data
72 with non-matched contrast use
76 missing/non-analyzable LVESV data
75 with non-matched contrast use
Clinical Endpoint Analysis
51 exited study early
14 Died
12-month visit
1o and 2o
Endpoint Analyses
Core Laboratories:
*ECG Maastricht University, Netherlands
**ECHO MedStar Health Research Institute, USA
Results
Baseline demographics | SyncAV | Fixed AV Delay
Age (Years) | 66 ± 11 (646) | 65 ± 11 (642)
Female | 36.5% (236/646) | 36.4% (234/642)
NYHA Class I / II/ III/ IV | 3.7/ 52.8/ 41.0/ 2.3% | 2.5/ 58.6/ 36.6/ 2.3%
Non-Ischemic Cardiomyopathy: | 66.7% (431/646) | 67.4% (433/642)
QRS Duration* | 164 ± 24 (581) | 165 ± 24 (561)
PR Interval (ms)* | 182 ± 28 (579) | 183 ± 29 (553)
True LBBB Morphology* | 91.0% (533/586) | 90.8% (516/568)
LVESV (ml)** | 142 ± 63 (636) | 142 ± 70 (636)
LVEF (%)** | 31 ± 10 (512) | 31 ± 10 (518)
Hypertension | 63.2% (408/646) | 62.1% (399/642)
Renal Disease | 13.0% (84/646) | 13.1% (84/642)
COPD | 7.1% (46/646) | 5.5% (35/642)
ACE Inhibitors/ARBs | 33.7% (218/646) | 31.8% (204/642)
Entresto | 53.4% (345/646) | 58.6% (376/642)
SGLT2 Inhibitors | 0.9% (6/646) | 1.2% (8/642)
Beta Blockers | 86.2% (557/646) | 87.4% (561/642)
Diuretics | 77.7% (502/646) | 79.6% (511/642)

## Slide 8
Results
Chart: Paced QRS Duration by Randomization Arm
| 60 | 80 | 100 | 120 | 140 | 160 | 180 | 200 | 220 | 240
SyncAV optiomal | 0.0031153 | 0.024922 | 0.11838 | 0.35202 | 0.33333 | 0.15421 | 0.010903 | 0.0031153 | 0 | 0 | 0
Fixed Delay | 0 | 0.0043668 | 0.032751 | 0.19651 | 0.34279 | 0.25546 | 0.11354 | 0.048035 | 0.0065502 | 0 | 0
Overall Intrinsic | 0 | 0 | 0.013575 | 0.037104 | 0.14389 | 0.33937 | 0.31131 | 0.11493 | 0.031674 | 0.0081448 | 0
 | SyncAV | Fixed AV Delay | P-value
Paced QRS Duration | 123 ± 19 ms | 138 ± 24 ms | <0.0001
pAV/PR | 74% ± 14% | 61% ± 9% | <0.0001
Intrinsic
Fixed AV
SyncAV

## Slide 9
Primary Endpoint
Chart: LVESV Absolute Change (mL)
| -120 | -100 | -80 | -60 | -40 | -20 | 0 | 20 | 40 | 60 | 80 | 100 | 120 | 140 | 160 | 180 | 200 | 220 | 240 | 260 | 280 | 300
Fixed AV Delay Median (IQR) 47 (23-85) mL | 0 | 0 | 0.0046948 | 0.0070423 | 0.011737 | 0.032864 | 0.065728 | 0.11502 | 0.19953 | 0.14319 | 0.15258 | 0.098592 | 0.068075 | 0.030516 | 0.021127 | 0.021127 | 0.0046948 | 0.0070423 | 0.0070423 | 0.0023474 | 0.0046948 | 0.0023474 | 0
SyncAV Median (IQR) 45 (18-72) mL | 0.0022779 | 0 | 0.0045558 | 0.0045558 | 0.015945 | 0.029613 | 0.056948 | 0.17084 | 0.17995 | 0.19818 | 0.12756 | 0.091116 | 0.047836 | 0.022779 | 0.025057 | 0.0068337 | 0.0045558 | 0.0022779 | 0.0045558 | 0.0022779 | 0.0022779 | 0 | 0
p=0.054
Wilcoxon Rank-Sum
Negative response
Fixed AV
Sync AV
P = 0.054
Chart: LVESV Reduction (mL)
| Fixed AV | SyncAV
Primary | -47 | -45
Overall LVESV  at 12 months
Increased structural remodeling

## Slide 10
P = 0.1616
Proportion of CRT Responders (LVESV ↓ ≥ 15%)
Secondary Endpoint
Chart: % CRT Responders
| Fixed AV | SyncAV
 | 0.794 | 0.752
All-Cause Mortality (%)
HF Hospitalization (%)
Fixed AV
SyncAV
Fixed AV
SyncAV
Clinical Endpoints
2.4%
2.1%
3.1%
2.7%
CRT Response Rate: CCS Improved/Non-progressor
SyncAV 90.4% vs 92.6% Fixed AV (p = 0.21)
AF (> 10 days) occurred less frequently in SyncAV
(2.0% vs Fixed AV 4.4%, p=0.027)

## Slide 11
Chart: Distribution of PR Interval
| 100 | 120 | 140 | 160 | 180 | 200 | 220 | 240 | 260 | 280 | 300
Fixed AV Delay | 0 | 0.0036166 | 0.034358 | 0.19892 | 0.30561 | 0.24412 | 0.088608 | 0.061483 | 0.041591 | 0.018083 | 0.0036166 | 0
Incomplete Electrical Resynchronization (IeR)
183 ms
Question:
Are outcomes improved at
longer PR intervals by programmed electrical resynchronization?
Fixed AV (110 ms)
pAV/PR 60% 40%
IeR

## Slide 12
 | SyncAV | Fixed AV Delay | P-value
Paced QRS Duration | 123 ± 19 ms | 133 ± 24 ms | <0.001
pAV/PR | 71% ± 16% | 67% ± 6% | <0.0001
Clinical Events* | 10.4% | 7.4% | 0.25
*Clinical Events: Death, HFH, AF burden > 10 days, LVESV > 15%
 | SyncAV | Fixed AV Delay | P-value
Paced QRS Duration | 124 ± 20 ms | 146 ± 22 ms | <0.0001
pAV/PR | 78% ± 11% | 52% ± 5% | <0.0001
Clinical Events* | 10.3% | 21.5% | 0.0055
Composite Endpoint – Patients Dichotomized by PR 185 ms
  PR interval < 185 ms
  PR interval ≥ 185 ms
Chart: PR Interval < 185 ms
| 60 | 80 | 100 | 120 | 140 | 160 | 180 | 200 | 220
SyncAV | 0 | 0.015244 | 0.10671 | 0.33537 | 0.35671 | 0.17073 | 0.012195 | 0.0030488 | 0 | 0
Fixed AV Delay | 0 | 0.0060976 | 0.036585 | 0.21341 | 0.31402 | 0.16768 | 0.067073 | 0.036585 | 0 | 0
Chart: PR Interval ≥ 185 ms
| 60 | 80 | 100 | 120 | 140 | 160 | 180 | 200 | 220
SyncAV | 0 | 0.012195 | 0.085366 | 0.38618 | 0.33333 | 0.15041 | 0.020325 | 0.012195 | 0 | 0
Fixed AV Delay | 0 | 0 | 0.017751 | 0.094675 | 0.30769 | 0.3432 | 0.16568 | 0.053254 | 0.017751 | 0
Favors SyncAV
Favors Fixed
PR ≥ 185 ms

## Slide 13
Limitations
Primary and Secondary endpoints
  Large proportion of patients with non-analyzable echoes
Clinical endpoints
  Low clinical event rates across the study population
  Analysis by PR interval is exploratory

## Slide 14
Conclusion
1st large scale CRT trial to measure paced effects and guide CRT optimization by electrical principles
Overall CRT results are unprecedented compared to prior CRT trials
SyncAV resulted in best electrical resynchronization, but FIXED programming (standard of care) overlapped significantly, accounting for similar overall outcomes
SyncAV is an electrical programming solution for patients with longer PR intervals (50% of our cohort), regarded as less responsive to CRT