## Slide 1
A randomized, controlled, clinical study on Conduction System pacing versus Biventricular pacing for HFrEF patients who are candidates for CRT.
31 August 2026
Michael Vinther, Berit Thornvig Philbert, Jesper Hastrup Svendsen, Jesper James Linde, Ulrik Winsløw, Hillah Saffi, Emil Anton Frandsen, Mohamed Zuhair, Nandita Kaza, Zachary Whinnett, Daniel Keene, Niels Risum.
His-Alternative II

## Slide 2
Methods – Study design
Rigshospitalet, Copenhagen
NHS Trust, Hammersmith, London
Two centres
Investigator initiated
2:1 randomization to either CSP-CRT or BiV-CRT
Funding
Clinical Research Unit at the Heart Centre, Rigshospitalet
Unrestricted grants from Medtronic Inc and Abbott Medical A/S

## Slide 3
Methods – Patients
Age ≥18 years
Sinus rhythm
NYHA class II-IV
LVEF ≤35%
Optimal medical therapy for heart failure
Broad QRS with one of the following:
  LBBB according to Strauss’ criteria
  Paced QRS with >90% RV pacing
Inclusion criteria
Existing CRT system
Permanent atrial fibrillation
Renal function: eGFR <30 mL/min/1.73 m2
AMI or CABG <3 months before enrolment
Exclusion criteria

## Slide 4
Methods – Device implantation
1: His bundle pacing with threshold <2.5V at 1 ms for capture of HIS and LBB
2: Left bundle branch pacing with r’ in V1 and narrowing of QRS
3: Cross over to biventricular pacing
Conduction system pacing

## Slide 5
Methods – Device implantation
Biventricular pacing
1: Coronary sinus lead with
QLV last third of QRS
Threshold <4 V at 1 ms
Threshold for phrenic nerve capture > 2x threshold for myocardial capture
2: Cross over to conduction system pacing

## Slide 6
Methods – Primary Endpoints
1. Non-inferiority of the relative change in left ventricular end-systolic volume (LVESV) from baseline to 6 months with a non-inferiority margin of 10%
2. Successrate of implanting CSP-CRT

## Slide 7
Methods – Secondary and Safety Endpoints
Secondary endpoints
CRT response defined as ≥15 % reduction in LVESV
Changes in clinical parameters: QRS duration, LVEF, NT-proBNP
Changes in symptoms: NYHA functional class, Minnesota Living with Heart Failure Questionnaire
Changes in functional capacity: 6-min walk test
Safety endpoints
Periprocedural device-related complications (pneumothorax, hemothorax, pericardial bleeding or cardiac tamponade)
Later device-related complications (>30 days post implantation)

## Slide 8
Results - flowchart

## Slide 9
Results - Baseline characteristics
Randomisation group | BIV | HIS/LBB
Number of patients | 49 | 99
Male gender | 32 (65 %) | 64 (65 %)
Age (y) | 67.6 ± 12.5 | 68.8 ± 10.9
BMI | 28 ± 6 | 28 ± 6
Non-ischaemic CM | 43 (88 %) | 71 (72 %)
Upgrades | 4 (8 %) | 9 (9 %)
QRS (ms) | 166 ± 13 | 168 ± 17
LVEF Simpson | 27 ± 6 | 28 ± 7
LVESV (ml) | 149 ± 65 | 134 ± 62

## Slide 10
Results - Primary endpoint Intention-to-treat
Between group differences 0.9%
95% CI -6.9 % to 8.7%
P=0.003 for non-inferiority
p=0.8 for superiority

## Slide 11
Results - Secondary endpoints Intention-to-treat
No significant differences
between BIV-CRT and CSP-CRT

## Slide 12
Results - Secondary endpoints Intention-to-treat

## Slide 13
Results - On-treatment
Between group differences 2.7%
95% CI -4.6% to 10.0%
p<0.001 for non-inferiority
p=0.6 for superiority
Primary endpoint

## Slide 14
Results - Safety

## Slide 15
Conclusion
In HFrEF patients who had SR and LBBB fulfilling Strauss criteria or had >90% RV-pacing, CSP-CRT delivered either as HIS-CRT or LBB-CRT proved non-inferior to BIV-CRT in the relative reduction of LVESV at 6-month follow-up
Both CSP-CRT and BIV-CRT provided extensive and comparable improvements in electrocardiographic, echocardiographic and clinical parameter
CSP-CRT and BIV-CRT had similar safety profiles
CSP-CRT shows promise as an alternative resynchronization strategy to BIV-CRT but we need larger randomized studies with longer follow-up to firmly establish the future role of CRT delivered with Conduction System Pacing

## Slide 16
Thank you
Berit
Emil
Niels
Hillah
Jesper
Jesper
Mohamed
Nandita
Zach
Dan
Ulrik

## Slide 17: Simultaneously published in JACC: Clinical Electrophysiology
10.1016/j.jacep.2026.08.008